Multimodal imaging in Alzheimer’s disease: validity and utility for early detection

Stefan Teipel, MD1, Alexander Drzezga, MD2, Michel J. Grothe, PhD1, Henryk Barthel, MD3, Gaël Chetelat, PhD4, Norbert Schuff, PhD5, Pawel Skudlarski, PhD6, Enrica Cavedo, MS7,8, Giovanni B. Frisoni, MD7,9, Wolfgang Hoffmann, MD10, Jochen René Thyrian, PhD10, Chris Fox, MD11, Satoshi Minoshima, MD, PhD12, Osama Sabri, MD3, Andreas Fellgiebel, MD13

1Department of Psychosomatic Medicine, University of Rostock; and DZNE, German Center for Neurodegenerative Diseases, Rostock/Greifswald, Rostock, Germany

2Department of Nuclear Medicine, University of Cologne, Cologne, Germany

3Department of Nuclear Medicine, University of Leipzig, Leipzig, Germany

4Inserm - EPHE - Université de Caen/Basse-Normandie, Caen cedex, France

5Department of Veterans Affairs Medical Center and Department of Radiology, University of California in San Francisco, San Francisco, CA, USA

6Olin Neuropsychiatry Research Center, Hartford Hospital/Institute of Living, Hartford, CT; and Department of Psychiatry, Yale School of Medicine, New Haven, CT, USA

7LENITEM Laboratory of Epidemiology, Neuroimaging, & Telemedicine - IRCCS Centro San Giovanni di Dio-FBF, Brescia, Italy

8Sorbonne Universités, Université Pierre et Marie Curie, Paris 06, Institut de la Mémoire et de la Maladie d’Alzheimer (IM2A) & Institut du Cerveau et de la Moelle épinière (ICM), UMR S 1127, Hôpital de la Pitié-Salpétrière Paris & CATI multicenter neuroimaging platform, France

9Memory Clinic and LANVIE - Laboratory of Neuroimaging of Aging, University Hospitals and University of Geneva, Geneva, Switzerland

10Institute for Community Medicine, University of Greifswald; and DZNE, German Center for Neurodegenerative Diseases, Rostock/Greifswald, Greifswald Germany

11Dementia Research Innovation Group, Norwich Medical School, Faculty of Medicine and Health Sciences, University of East Anglia, Norwich, UK

12Neuroimaging Department of Radiology, University of Utah, Salt Lake City, UT, USA

13Department of Psychiatry, University Medical Center of Mainz, Mainz, Germany

| Corresponding Author: | Manuscript requirements: |  |
| --- | --- | --- |
| Stefan J. Teipel, M.D. Department of Psychosomatic Medicine University of Rostock, and DZNE Rostock, Gehlsheimer Str. 20, 18147 Rostock, Germany Tel.: 01149-381-494-9470 Fax: 01149-381-494-9472 E-mail: stefan.teipel@med.uni-rostock.de | Title Summary Text References Tables Panels Figures | 84 spaces 150 words 5,634 words 138 3 2 6 |

Summary

Alzheimer’s disease (AD) is a progressive neurodegenerative disease that typically manifests clinically as a relatively isolated amnestic deficit which evolves into a characteristic dementia syndrome as the disease progresses. Advances in neuroimaging research allow mapping diverse molecular, functional, and structural aspects of AD pathology in ever increasing temporal and regional detail. There is accumulating evidence that the distinct types of AD-related imaging abnormalities follow a rather consistent trajectory during AD pathogenesis, and that first alterations may be detected years before the disease manifests clinically. These observations have fueled clinical interest in using AD-specific imaging markers to predict future development of dementia in at-risk subjects. This article summarizes current knowledge regarding the pathological validity and potential clinical utility of the best investigated imaging markers for AD. It further discusses the necessity of additional work before promising imaging markers may be successfully translated from research settings into clinical practice in routine care.

- Introduction

According to diagnostic criteria, such as National Institute of Neurological Communicative Disorders and Stroke and the Alzheimer Disease and Related Disorders Association (NINCDS-ADRDA) Criteria, as well as recommendations from National Institute on Aging-Alzheimer's Association (NIA-AA) workgroups on diagnostic guidelines for Alzheimer's disease, clinically early stages of AD include subjects with AD dementia as well as prodromal AD, i.e. non-demented subjects with episodic memory impairment or mild cognitive impairment (MCI) and positive imaging or neurochemical biomarkers of disease.1, 2 A more detailed outline of the concept of MCI and its subcategories can be found in the supplemental material section. While these concepts were originally designed for research purposes, they have already now begun to influence clinical practice. MCI patients who consult a specialized memory clinic are already informed about a probably underlying AD pathology and probable short term dementia development if diagnostics reveals a combined positivity of an Aβ biomarker and a biomarker of neuronal injury.2 In our view, this practice requires careful individual counselling of MCI patients at a memory clinic prior to the performance of any further diagnostic procedure. The Alzheimer’s Association goes even beyond the use of such markers in specialized care by stating: “Core clinical diagnostic criteria spelled out in the guidelines for Alzheimer's dementia and MCI due to Alzheimer's can be used now in general practice.” (http://www.alz.org/research/diagnostic_criteria/#use) Here we respond to these developments by critically summarizing current evidence for the use of imaging as a diagnostic or prognostic biomarker for both research and care settings. For the potential prognostic use of CSF markers, we refer the interested reader to recent overviews, such as provided by3, 4.

A diagnostic AD biomarker should reflect AD pathomechanisms in the presence of clinical symptoms of dementia, while a prognostic biomarker focuses primarily on the prediction of cognitive decline and dementia in prodromal stages of AD, especially amnestic MCI. Developing a valid imaging biomarker is a multi-step process which starts with methodological studies and progresses through studies involving selected samples towards studies in a real world care setting. Evidence is already available on the utility of imaging biomarkers in highly selected samples. The final proof of usefulness, however, will be the utility of imaging biomarkers in supporting a diagnosis of AD in unselected subjects from routine care, and their potential to provide cost-effective, clinically relevant outcome improvements in real world care systems. We therefore explore whether the use of novel imaging biomarkers for the detection of dementia and prodromal stages of AD, including its use to predict short to midterm conversion to dementia within one to two years, in well-defined research settings can be translated in the foreseeable future into a useful tool for improving the care of patients and their families.

- Imaging markers of Alzheimer’s disease used in a research setting

The most widely used imaging modalities for the assessment of AD-related brain changes in the research setting are PET-based amyloid markers, which detect AD-specific molecular pathology, and neuronal injury markers, including structural MRI, FDG-PET, and diffusion tensor imaging (DTI), which are more robustly associated with clinical symptoms as quantified by psychometric tests compared to amyloid imaging but are only indirectly linked to the underlying molecular pathology.5 Functional MRI techniques are geared towards detecting pathological or compensatory alterations of functional network organization that may occur even before alterations in local injury markers become evident.6

Studies in selected samples have shown that AD-specific imaging abnormalities, such as cortical amyloid deposition,7 grey matter atrophy,8 hypometabolism,9 and structural10 and functional6 cortical disconnection can reliably be used to differentiate AD patients at mild to moderate dementia stages both from normal aging and from other neurodegenerative dementias. It may even be possible, using imaging assessments of the individual’s brain pathological state, to predict the risk of future development of AD dementia in a person with MCI. The suitability of imaging markers to predict conversion to AD from MCI is currently being explored in clinically highly selected samples, while the actual utility of these imaging markers in routine care will be an important topic of future research (see section 4).

The validity of an imaging biomarker can be assessed according to two principal criteria: Firstly, its pathological validity, i.e. whether or not it actually measures the pathology we expect it to measure; secondly, its clinical validity, i.e. the accuracy with which it can actually predict an individual clinical outcome. Reporting levels of diagnostic or prognostic accuracy needs to be further developed where the majority of studies does not use methods of cross-validation to assess the precision of parameters of accuracy, recommended in the statistical learning literature 11.

The following section will look at the most commonly used imaging techniques in light of current knowledge regarding their pathological validity and their value for predicting conversion to AD dementia in subjects with MCI. This encompasses advanced techniques that have some evidence of being able to reflect relevant pathogenetic events in AD and that are at least on the verge of being implemented in large multicenter diagnostic studies, such as ADNI12, AddNeuroMed13 or the European multicenter PET study14, and/or treatment trials, such as NCT01953601 (“Efficacy and Safety Trial of MK-8931 in Participants With Prodromal Alzheimer's Disease”, the APECS trial),, NCT01767311 (“A Study to Evaluate Safety, Tolerability, and Efficacy of BAN2401 in Subjects With Early Alzheimer's Disease”) or NCT01677572 (“Multiple Dose Study of BIIB037 in Participants With Prodromal or Mild Alzheimer's Disease”), available at clincialtrials.gov. We do not discuss other promising imaging technologies, such as Tau-PET (for a recent review on this technology see 15), as these techniques are undergoing dynamic development, but are not yet on the verge of major multicentre trials.

Amyloid imaging

Visual analysis of amyloid-PET data provides binary information on the presence or absence of brain amyloid load (Figure 1).16 Whether or not in clinical applications quantitative approaches will have added value relative to qualitative visual analysis is still not clear. This would be the case if, for example, high amyloid levels (beyond a mere threshold of positivity), or certain regional patterns of amyloid load turned out to predict faster cognitive decline.17, 18 In multi-centre settings, the reliability of amyloid-PET binary reads across sites was found to be quite high.19 In addition, the Centiloid project aims at unifying the quantitative outcome parameters for direct comparisons between different amyloid-PET tracers.20

11C-labeled Pittsburgh compound B (PIB) and 18F-labeled amyloid-PET tracers bind with high affinity to the beta-sheets of fibrillar amyloid. They are specific in their binding to amyloid aggregates, and do not bind to other pathological proteins associated with neurodegenerative disorders, such as tau or alpha-synuclein.21

In a sample of 15 end-of-life dementia and non-dementia cases, a binary read of PIB reached a pooled sensitivity of 73% and pooled specificity of 100% in relation to the histopathological presence or absence of amyloid.22-28

PIB uptake in vivo yielded a mean (over all PIB publications available in the literature) correlation coefficient of r = 0.88±0.04 with the number of amyloid plaques upon autopsy.29-31 The 18F-labeled amyloid-PET tracers had a pooled sensitivity and specificity in 252 cases of as high as 92% and 95%, respectively,32-37 in their detection of amyloid aggregates. These cases covered end-of-life dementia and non-dementia individuals in which in vivo PET imaging was compared to post mortem histopathology, as well as normal hydrocephalus patients scheduled for shunt surgery in which in vivo PET imaging was compared to ex vivo histopathology of the respective biopsy specimens. Association analyses between tracer uptake and histopathology revealed a mean (over all 18F-labeled amyloid-PET tracer publications available in the literature) correlation coefficient of r = 0.69±0.07.16, 35 One reason for this correlation being less close than in the case of PIB might be the higher unspecific white matter uptake of 18F-labeled tracers, which in turn could cause spillover effects that compromise the evaluation of grey matter amyloid load.

In most of the above studies, PET imaging was carried out in an end-of-life situation, i.e. in a scenario which might compromise the ability of PET tracers to determine brain amyloid load due to advanced brain atrophy and blood circulation impairments. Nevertheless, the amyloid-PET tracer validity data currently available are deemed satisfactory by the scientific community and the regulatory authorities.38

Potential for clinical application

According to Johnson et al. (Panel 1),39 the main role of amyloid-PET in clinical routine is in the early stages of dementia. One particularly attractive approach would be to use amyloid-PET imaging to predict, on an individual basis, the risk of conversion to AD in subjects with MCI. Current knowledge about the capacity of amyloid-PET in this regard is summarised in Table 1. While early data suggest that amyloid-PET might be useful for predicting conversion to AD at the MCI stage, it is arguable, whether the speed of possible conversion to AD in case of MCI is adequately addressable by amyloid-PET alone. As amyloid accumulation presumably represents an early event in the amyloid cascade model and precedes cognitive decline, it may have already reached a plateau in many subjects with MCI. For predicting the speed of conversion, then, neuronal injury biomarkers such as MRI, FDG-PET or CSF tau would seem to be more powerful. Studies into amyloid-PET use in primary care still need to be carried out.

FDG-PET

FDG-PET detects patterns of altered regional glucose metabolism associated with various dementing disorders. FDG-PET results are highly reproducible between different scanners, centers and readers. As demonstrated in a recent study including 50 PET centers with 15 different scanner models, specific filtering and smoothing procedures may contribute to a further reduction of inter-scanner differences in the FDG-PET data.40 Diagnostic interpretations are commonly performed by visual inspection. The use of semi-quantitative, statistical mapping analyses has been shown to improve differential diagnostic accuracy41 and the detection of subtle metabolic changes in early AD or MCI (Figure 2).42

The cellular mechanisms of glucose consumption by neurons have been the subject of a number of investigations. One working model considers glucose metabolism in the context of capillary-glia-neuron coupling at glutamate synapses.43 Reduced synaptic metabolism of glucose (and FDG uptake) coincides with the synaptic vulnerability seen in early AD, e.g. in predicting conversion to AD in MCI patients (see Table 1).

Several retrospective investigations have employed autopsy confirmation of FDG-PET findings: FDG-PET reached a sensitivity of 84% to 96% and a specificity of 73% to 74% in the prediction of AD pathology upon autopsy in two studies involving more than 100 cases with AD, more than 25 cases with other forms of neurodegeneration and more than 20 cases without neurodegeneration (all examined clinically and neuropathologically).44, 45 On the basis of autopsy diagnosis, FDG-PET could be shown to have clearly outperformed the initial clinical diagnosis: For example, whereas the clinical diagnosis of AD was associated with a 70% probability of detecting AD pathology it increased to 84% with a positive PET-scan and decreased to 31% with a negative PET-scan.38

Potential for clinical application

Key studies into the use of FDG-PET to predict conversion to AD among MCI patients are listed in Table 1. A meta-analysis involving six studies demonstrated sensitivity and specificity of 89% and 85%, respectively, in predicting conversion. As compared to structural MRI, FDG-PET performed statistically better in positive likelihood ratio and odds ratio.46 Another meta-analysis involving seven studies demonstrated sensitivity and specificity of 77% and 74%, respectively, for FDG-PET, in comparison to 93% and 56%, respectively, for amyloid-PET.47 In a multi-modal imaging study, a direct comparison between FDG-PET, PIB-PET and structural MRI was performed in a group of MCI patients monitored longitudinally for conversion to AD. This study demonstrated FDG-PET to be more sensitive and more specific than MRI hippocampus volumetry and at least as accurate as amyloid-PET.48 These data support the notion that FDG-PET might be useful as a predictor of short term cognitive decline in clinical studies and experimental settings, but FDG-PET is still at the stage of being implemented into clinical routine, and studies in a real routine care setting are scarce (see sections 4.1 and 4.2, below).

Structural MRI

Structural MRI is a widely established method to measure regional and global brain volumes in vivo. Volumetric MRI measurements are sensitive to variations in image contrast and resolution caused by differences in scanner settings across multiple sites. However, the multicentre variability can be effectively reduced by the use of phantom-based standardization, where a physical object with fixed geometry is scanned at each site and the imaging outcomes serve to calibrate the acquisition protocols across sites. A further step to reduce multicentre variability is the use of uniform post-acquisition image processing tools to correct for most commonly encountered image artifacts.

Brain atrophy as seen with structural MRI can, in principle, reflect the loss of tissue components, such as neurons, synapses, dendrites, as well as of glial cells and vessels. Declining hippocampal volumes in AD as determined antemortem using MRI strongly correlate with histopathological estimates of total neuron numbers upon autopsy.49 However, cell loss is not necessarily the only cause of the volumetric changes seen with MRI. The cortical thinning of the frontotemporal neocortex observed in normal aging, for instance, has been found to be primarily due to alterations in cell morphology and dendritic architecture, rather than neuronal loss.50 While medial temporal lobe atrophy on MRI is not specific for AD pathology,51, 52 the differential pattern of brain-wide atrophy can accurately separate pathologically-confirmed AD patients from healthy controls (sensitivity: 97%, specificity: 94%)53 as well as from dementias with other underlying pathologies, including frontotemporal lobar degeneration and Lewy-body disease (sensitivity: 91%, specificity: 84%)8

Potential for clinical application

Initial quantitative evaluations of structural MRI for predicting AD conversion in MCI subjects have used visual scoring scales54 or manual volume measurements of hippocampus or entorhinal cortex (Table 1), (Figure 3).55 The volumetric methods have achieved promising prediction accuracies for AD in MCI of around 80% in controlled monocentre studies. Novel computational image processing algorithms permit the automated segmentation of hippocampus volumes in MRI images with high anatomic accuracy and in a time-efficient manner.76 The application of these methods to large multicentre MRI data sets yielded somewhat lower prediction accuracies of 65% to 70% (see Table 1). Markers of hippocampal atrophy do not take into account the overall pattern of brain atrophy in AD. For this reason, more comprehensive quantitative metrics of AD-typical brain damage have been developed which use composite measures across several AD-susceptible brain regions56 or advanced machine learning algorithms to detect multivariate patterns of brain atrophy.57 These methods achieved accuracies ranging from 65% to 80% correct group separations between MCI converters and non-converters in large-scale multicentre datasets (see Table 1). A major determinant of the prediction accuracy achieved appears to be the time to conversion of the sample analysed.58 Atrophy-based classification models can detect MCI subjects on the verge of converting to AD dementia (e.g. within the year following the MRI scan) with higher accuracy than those who will convert to AD dementia within three years or more.

Although the degree of accuracy currently achieved in predicting AD dementia in subjects with MCI has not yet reached clinically acceptable levels, MRI-based sequences may provide the clinician with complementary information of a patient’s AD risk.59 While volumetric measures on MRI may not be superior over detailed clinical evaluations in predicting progression from MCI to AD dementia,60 highest prediction accuracies are being achieved when the two types of information are combined.59, 61

DTI and rs-fMRI

Histopathological studies of AD point to demyelination and axonal damage to white matter fibre tracts, which may result in functionally relevant disconnections between brain areas in addition to localized grey matter deficits.62 DTI techniques measure the directionality of water diffusion and may detect microstructural damage to white matter fibre connections through changes in specific diffusion metrics.63 Determining the most robust acquisition parameters and processing strategies for DTI is still an active area of research, and initial clinical and physical phantom data, i.e. scans obtained from a volunteer as well as a physical object with defined diffusion properties, suggest that the variability of DTI-based diffusion metrics across a range of MRI scanners is at least 50% higher than that of volumetric measures in a direct comparison between modalities.64

As well as being traceable via assessments of structural connectivity, breakdown in functional connectivity can be measured using resting-state functional MRI (rs-fMRI) techniques.6  Rs-fMRI analyses temporal correlations in spontaneous BOLD (blood oxygenation level dependent) signal fluctuations originating in spatially segregated regions of the brain. Reproducible correlation patterns of spontaneous low-frequency fluctuations in the signal between distant brain areas determine distinct sets of what are known as intrinsic connectivity networks. While these networks show robust reproducibility within-subject over time and across multiple scanners,65 methods that would permit the precise quantification of connectivity changes and thus the design of AD biomarkers are still being explored, such as in ADNI66 or DIAN.67

Clinicopathological correlation studies have provided initial evidence of the validity of DTI metrics in depicting distinct white matter alterations in neurodegenerative conditions.68 Data from experimental animal models indicate that alterations in specific diffusion metrics may, in principle, even allow inferences to be made about the specific nature of fibre damage, such as myelin degeneration or axonal damage caused by Wallerian degeneration.63

The precise nature of functional connectivity at rest is not well understood, but the intrinsic connectivity networks thus obtained appear to reflect the repertoire of co-activated functional networks that are engaged under task conditions. Furthermore, simultaneous assessment of neuronal activity using electrophysiological recordings has provided evidence that the coordinated rs-fMRI signal fluctuations do indeed represent the synchronous neuronal firing of distant brain regions rather than effects from imaging artifact.69

Potential for clinical application

Meta-analytical studies show that DTI measurements of limbic regions discriminate between healthy controls and AD or even MCI patients, with effect sizes comparable to hippocampus atrophy (Figure 4).70 DTI has recently entered the phase of large-scale multicentre studies, but its clinical utility in predicting progression from MCI to AD has only been assessed in a few monocentre studies so far (Table 1). Though promising, the high multicentre variability of this complex imaging technique may impose important constraints on its application in the wider clinical context.

The intrinsic connectivity network most intensively studied in AD is the default mode network (Figure 5),6 which consists of regions that show a striking resemblance to typical predilection sites of AD pathology. These include the posterior cingulate, medial temporal, temporoparietal and medial prefrontal cortex. Although numerous rs-fMRI studies have demonstrated that a specific disconnection between default mode network components occurs early in AD, only very limited evidence of the clinical utility of rs-fMRI in predicting AD conversion in MCI subjects is available to date, stemming from relatively small monocentre studies (Table 1).

3. Multimodal imaging assessments

Multimodal imaging studies may have a number of advantages over single modality studies (Figure 6):

- They allow the temporal and topographical relationships between a number of pathological parameters to be investigated and thus improve our understanding of pathophysiological interactions in vivo.

- They permit direct comparisons of the diagnostic power of different imaging modalities in identical patient samples.

- They potentially offer the advantage of combining the complementary strengths of single imaging modalities thus improving diagnostic accuracy compared to single imaging tests.

However, multimodal imaging studies also present a methodological challenge due to the high number of candidate features they provide for predicting conversion. This leads to two related problems: first, with an increasing number of features the risk of overfitting the data increases, a phenomenon known since the early 1960ies as “the curse of dimensionality”.71  To overcome this problem, strict procedures of separate training and test set evaluation need to be adopted, as outlined in the statistical learning literature.72 Such approaches typically use different effect size estimates for feature selection.73 Secondly, a related issue is the problem of collinearity among predictor variables that becomes more severe with a higher number of features. Overcoming this problem, unless strict a priori selection of features can be performed, is far from trivial. Advances of statistical learning techniques such as regularized regression,74 recently adopted to the setting of multimodal imaging-based AD prediction,75 may provide a viable alternative to derive a parsimonious prediction model from a large number of collinear features.

From a neurobiological perspective, the dominating model of disease progression in AD – the amyloid cascade hypothesis – proposes that amyloid pathology is the first step in a cascade of events leading to synaptic dysfunction, a build-up of neurofibrillary tangles, neuronal injury and loss, and finally cognitive decline.76 A number of multimodal imaging studies support this disease model in that they demonstrate that amyloid-deposition is: a) found in mutation carriers with autosomal-dominant AD at a young presymptomatic stage and in normal individuals with no evidence of cognitive change or neuronal injury,77 b) associated with increased rates of atrophy and conversion to MCI and AD,78 and c) regionally/quantitatively associated with the progression of hypometabolism in AD.79

The concept of sequential biomarkers has recently made its way into diagnostic research criteria.2 This concept is based on the principle that the higher the number of positive biomarkers (amyloid pathology, neuronal injury), the higher the likelihood that the patient is suffering from AD. Several questions remain unresolved with regard to the practical application of these guidelines, however - the first being what to do when biomarkers come up with conflicting results (e.g. a negative amyloid biomarker and a positive biomarker of neuronal injury or vice versa). If no amyloid pathology was present, we would assume that any neuronal injury detected was a result not of underlying AD but rather of a different pathology. Several studies, however, indicate that AD-typical markers of neuronal injury may appear in asymptomatic subjects who do not present biomarker evidence of amyloid pathology80 and that the short-term rate of conversion to MCI and AD dementia was similar in these individuals to that observed in subjects with typical AD biomarker patterns.81 Unexpectedly, these individuals had no signs of a non-AD neurodegenerative pathology.82 This has led to the proposal of alternative hypotheses which accept that amyloid and neurodegeneration biomarkers may, to some extent, appear independently rather than sequentially in the course of AD.83

Secondly, the categorization of FDG-PET and structural MRI as equally sensitive biomarkers of neuronal injury in recent guidelines1, 2 may not be fully appropriate. From a pathophysiological point of view, synaptic dysfunction (as made accessible by FDG-PET) is expected to occur ahead of structural loss (i.e. neuronal death) and the usually higher diagnostic sensitivity reported for FDG-PET confirms this notion.46 Further studies are required to resolve these issues and to define the validity of the proposed sequence of biomarkers with regard to AD pathogenesis.

Potential clinical usefulness

Various studies have assessed the relative and combined accuracy of different neuroimaging techniques to predict conversion to AD in patients with MCI (Table 1). FDG-PET and amyloid-PET both appear to be superior to structural MRI in predicting conversion from MCI to AD as demonstrated in directly comparative multimodal studies46, 84 as well as in a metaanalysis.85 Studies comparing FDG- to amyloid-PET imaging suggest that the two markers separately show similar overall levels of predictive accuracy.48, 86 Amyloid-PET displays slightly higher sensitivity, and FDG-PET slightly higher specificity and greater short term predictive value than the respective other biomarker.87 This may be due to the phenomenon that amyloid load seems to rise a long time ahead of the onset of cognitive symptoms and to plateau and decouple from cognitive decline in later disease stages. In contrast, FDG-PET seems to show more linear correlation with disease progression.88 Structural MRI appears to correlate with current cognitive state and may permit a better estimation of time to conversion in amyloid-positive subjects than the amyloid level itself.89

One conclusion among the summarized multimodal studies in our view is that combinations of neuroimaging biomarkers (MRI + PET or FDG + amyloid-PET) are more accurate in predicting conversion from MCI to AD than any single marker, indicating that they provide complementary rather than redundant information. Novel integrated PET/MR technology may allow to combine complementary PET and MRI procedures, potentially leading to more accurate prediction. Functional MRI methods (e.g. rs-fMRI) or dynamic assessment of amyloid-PET imaging data may bear the potential to substitute FDG-PET in the future but there is not yet enough evidence available supporting such an approach in a clinical setting.

4. Potential application of multimodal imaging markers of Alzheimer’s disease in the clinic

4.1. Prodromal and early dementia diagnosis in specialized care

Identifying the risk of conversion to AD dementia in subjects with MCI is currently becoming part of the diagnostic work-up in specialized care, particularly in memory clinic settings. Using imaging biomarkers to predict AD dementia in patients with MCI based on the concept of “prodromal AD”, i.e. cases with a syndrome of MCI and a positive imaging or biomarker finding1, 2 has been applied in highly selected subject groups, but its utility in samples from specialized care settings such as memory clinics has yet to be investigated (Table 2).

In MCI subjects that have been attending a memory clinic, MRI-based measurement of medial temporal lobe atrophy (MTA) yielded moderate to high specificity compared to memory testing alone, at varying levels of sensitivity.90, 91 The high levels of specificity suggest that MTA and particularly molecular imaging with PET could be successfully employed to exclude non-AD cases from treatment intended for prodromal AD. Studies evaluating the diagnostic accuracy of FDG-PET using clinical diagnosis as gold standard may not allow systematic conclusions,92 because clinical diagnosis itself may not reflect the underlying pathology correctly and  FDG-PET may  likely not replace but rather complement clinical diagnosis in health care settings.  In general, the continuously improving access to PET-imaging facilities and the relatively low cost of the tracer are factors which may facilitate the efficient utilization of FDG-PET also outside of maximum care settings.

4.2. Prodromal and early dementia diagnosis in primary care

The ideal dementia diagnostic biomarker in primary care should: (i) have a sensitivity of well over 90% in dementia detection; (ii) have a specificity of near 100%; (iii) be reliable; (iv) detect one or more fundamental features of the relevant neuropathology; (v) be non-invasive; (vi) be easy and time-efficient to perform; (vii) be inexpensive.93 In prodromal dementia, the prognostic property of a biomarker becomes additionally relevant, i.e. its ability to predict the time course of the clinical symptoms within the next couple of years. So far, none of the imaging (and indeed non-imaging) biomarkers currently available has been tested with regard to these criteria in a primary care setting. As it is commonly the first point of contact, primary care provides a unique opportunity for early dementia diagnosis. Evidence suggests, however, that only a small proportion of subjects with dementia or cognitive impairment are recognized in this setting.94, 95 Moreover, diagnostic instruments in primary care so far lack the specificity to establish a valid diagnosis of dementia, and add little to clinically relevant differential diagnoses.96

The utility of imaging biomarkers in a clinical setting would be to improve diagnostic accuracy in symptomatic patients seeking support. However, no information is available on the likely costs of candidate biomarkers in primary care. Cost, however, will certainly be a driver for use in the primary care setting.  Insurers or universal healthcare systems such as the NHS may only be willing to re-imburse when cost effectiveness has been evaluated. Hence, cost effectiveness will need to be evaluated after clinical utility has been proven.

4.3. Strategy for the implementation of clinical markers into routine care

A multidisciplinary task force has proposed a roadmap to translate diagnostic AD biomarkers from research into routine clinical practice. This framework is organized in five conceptual phases:97 Phase 1 identifies and prioritizes leads for potentially useful biomarkers. Phase 2 estimates true and false positive rates for distinguishing subjects with and without the disease. Both phases are already widely achieved for AD imaging markers, including Standard Operating Procedures for image data acquisition in expert centers (Table 3). Phase 3, aiming to evaluate a biomarkers’ capacity to detect prodromal disease and define criteria for a biomarker positive test, has only partly been achieved (Table 3); Phase 4, aiming to determine the operating characteristics of the biomarker-based test in a tertiary and primary care population, has yet to be achieved. To date, only preliminary assessments of the effects of biomarker testing on costs and mortality associated with the disease have been developed, such as data on the association of fluorinated PET amyloid ligands with lower use of health care resources.98 Similarly, the final Phase 5, aiming to estimate the reductions in disease-associated mortality, morbidity, and disability afforded by biomarker testing, has not yet been investigated in the field of AD research. The time frame for completion of phases 3 to 5 will be strictly related to results obtained in each previous phase and it will also dependent on financial resources to develop each phase.

The framework proposes a network of “Biomarker Qualified” memory clinics to be set up in order to implement Phase 4 studies in tertiary and primary care samples. These studies will serve to fine-tune clinical guidelines according to a target population for imaging assessment in clinical care. Patient burden and acceptability, as well as minimization of radiation exposure will also be considered in the Clinical Guidelines. Cost scenarios, currently determined only in highly selected samples will be investigated in phases 4 and 5. In phase 5, national plans for sustainable access to biomarker-based diagnosis will be developed for those subjects who will likely benefit from early diagnosis. Here, imaging markers will be implemented on a large-scale across all national health service-run memory services.

This framework describes potential steps to bring advances in diagnostic imaging from research settings to clinical practice. It aims to balance patient needs, costs of care and non-medical factors for selection of diagnostic imaging (such as qualification, scanner availability) and allows adjustments, for each phase, based on empirical evidence and expert consensus. Non-medical factors will play an important role for the use of an imaging technique in clinical routine as well, but are not the focus of this paper; a panel summarizing these factors is shown in Panel 2.

5. Conclusions and future directions

Multimodal imaging, if implemented in clinical practice in the future, can help the clinician to make a diagnosis and decide about potential therapies.  Individual imaging modalities are far advanced in their technical development, but the stage of assessment of their medical relevance varies greatly between modalities. In the case of FDG-PET and structural MRI, the level of development is at multicentre studies resembling the conditions in real-world clinical settings, amyloid-PET is approaching this stage. Functional MRI and DTI are still in the phase of single centre studies that serve as an initial proxy for an assessment of their potential clinical utility. Consequently, structural MRI and FDG-PET have already become part of clinical trials and diagnostic algorithms in tertiary care. None of these techniques has shown its usefulness in a sample drawn from primary care thus far.

Sufficient information is not yet available about the selection of imaging modalities or their combinations for different clinical stages of AD and different care settings. As far as the existing data can be interpreted, FDG-PET seems to be a very well-established tool for the prognosis of dementia in MCI and may be recommended particularly if a reliable short-term prediction of cognitive decline is required. Structural MRI may provide a more widely available, albeit possibly less sensitive, alternative that further serves staging of neuronal loss, particularly when using quantitative analysis methods. Amyloid imaging may be preferable if very early (highly sensitive) information on the underlying neuropathology is most relevant (e.g. confirmation of presence of the drug target for therapy trials), but not prediction of dementia in a short time frame.

A third aspect is the integration of other sources of information into a diagnostic algorithm. Positive imaging markers for AD will be placed on the second step in a sequential diagnostic process, where low-cost and widely available screening tests, such as blood tests and neuropsychological tests, with high sensitivity will help to select those subjects that will undergo a more expensive and specific imaging protocol.

Another situation where a decision needs to be reached on the optimal combination of markers is the sequential use of imaging modalities, in which the selection of an individual imaging modality is guided not only by the evidence of its medical relevance, but also by availability, costs, patient burden, and imager expertise. These systemic factors beyond medical relevance are entering the discussion in the field of neuropsychiatric imaging, but as of yet there has been no data basis to resolve these issues. The move from sequential to parallel multimodal imaging, available with new generation hardware, such as integrated PET/MR systems that allow acquisition of both types of imaging data within one session, may provide solutions to these systemic factors. PET/MR requires expertise to be developed for more than one imaging technology, but it may help reduce costs below the costs of sequential imaging.

In respect to prediction of clinical progression speed on an individual level, multimodal imaging may be an important step forward. Rather than only identifying subjects with molecular evidence of disease, parallel information on neuronal function and structural integrity might help discriminate subjects facing imminent cognitive decline from those who will only experience late onset cognitive decline and those who will experience no cognitive decline at all. This question will become relevant for evaluating disease-modifying treatments of AD and, eventually, for deciding if a single subject would benefit from such treatments, once they may become available.

Only few studies so far have addressed the implementation of imaging biomarker techniques in real world care settings. Primary care research platforms such as the DelpHi study99 in the process of being set up will provide access to less selected samples in primary care and give access to empirical data concerning the real world clinical utility and cost-effectiveness of AD imaging biomarkers.

Search strategy and selection criteria

[References for this Review were identified by searches of PubMed between 2006 and April, 2015, and clincialtrials.gov, and references from relevant articles. The search terms “amyloid PET” AND [“Alzheimer” OR “mild cognitive impairment”] were used for section 2.1, “FDG PET” AND [“Alzheimer” OR “mild cognitive impairment”] for section 2.2, [“structural MRI”] AND [“Alzheimer” OR “mild cognitive impairment”] for section 2.3, [“Diffusion Tensor Imaging” AND “Alzheimer”] for section 2.4 (DTI part), [“resting state correlations” OR “resting state connectivity” OR “intrinsic connectivity” OR “functional  connectivity”] AND “Alzheimer” for section 2.4 (resting state part),  ["mild cognitive impairment" AND MCI AND ALZHEIMERS AND (MRI AND PET) OR (PET AND FDG AND AMYLOID] for section 2.5, [“specialized care” OR “memory clinic” OR “primary care”] AND “Imaging” AND [“Mild cognitive impairment” OR “Alzheimer” or “dementia”] for sections 3.1. and 3.2. There were no language restrictions. The final reference list was generated on the basis of relevance to the topics covered in this Review.

Authors’ contributions

Stefan Teipel:				Coordination and drafting of the Ms., figures, literature search

Alex Drzezga:				Coordination and drafting of the Ms., literature search

Michel J. Grothe: 		Drafting of the Ms., figures, literature search

Henryk Barthel:			Drafting of the Ms., figures, literature search

Gael Chetelat:				Drafting of the Ms., literature search

Norbert Schuff:			Drafting of the Ms., literature search

Pawel Scudlarski:		Drafting of the Ms., literature search

Enrica Cavedo: 			Drafting of the Ms., figures, literature search

Giovanni B. Frisoni:	 	Drafting of the Ms., literature search

Rene Thyrian: 			Drafting of the Ms., literature search

Wolfgang Hoffmann:	Drafting of the Ms., literature search

Chris Fox: 					Drafting of the Ms., literature search

Satoshi Minoshima:		Drafting of the Ms.

Osama Sabri:				Drafting of the Ms., literature search

Andreas Fellgiebel:		Coordination and drafting of the Ms., literature search

Conflicts of interest

Stefan Teipel, Michel Grothe, Gael Chetelat, Jochen René Thyrian, Wolfgang Hoffmann, Norbert Schuff, Pawel Skudlarski, Chris Fox, and Enrica Cavedo report no conflicts of interest.

Alex Drzezga reports personal fees from GE Healthcare, AVID/Lilly, and Piramal, outside the submitted work.

Andreas Fellgiebel reports personal fees from GE Healthcare, and Eli Lilly, outside the submitted work, and support from GE Healthcare, Piramal, and Hermes Medical Solutions, for sponsoring the 1st DeMPI meeting (see acknowledgment).

Osama Sabri and Henryk Barthel report consultant and speaker honoraria as well as travel expenses from Bayer Healthcare, Piramal Imaging, and Siemens Healthcare during conduction of the study.

Dr. Minoshima reports royality from GE Healthcare, consultation from Hamamatsu Photonics K.K., academic support from Nihon Medi-Physics, grants from Hitachi, grants from Astellas, grants from Seattle Genetics, grants from Philips Healthcare, outside the submitted work.

Dr. Frisoni reports grants, personal fees and non-financial support from Lilly Int.l, personal fees from BMS, personal fees from Bayer, personal fees from Lundbeck, personal fees from Elan, personal fees from Astra Zeneca, personal fees from Pfizer, personal fees from Taurx, grants and personal fees from Wyeth Int.l, grants, personal fees and non-financial support from GE, personal fees from Baxter, grants from Lundbeck Italia, grants and non-financial support from Avid/Lilly, grants, personal fees and non-financial support from Piramal, grants from Roche, grants from Alzheimer’s Association, outside the submitted work

Acknowledgement

The outline of this work has been discussed among the authors attending the 1st Meeting of the Dementia MRI PET Imaging Platform (DeMPI) on “Neuroimaging in the preclinical and clinical diagnosis of Alzheimer’s Disease” on the 20th and 21st of September 2013 in Kloster Eberbach, Germany. The Meeting had received funding by GE Healthcare, Piramal, Hermes Medical Solutions and the German Center for Neurodegenerative Diseases (DZNE).

References:

1.	Dubois B, Feldman HH, Jacova C, et al. Research criteria for the diagnosis of Alzheimer's disease: revising the NINCDS-ADRDA criteria. Lancet neurology 2007; 6(8): 734-46.

2.	Albert MS, DeKosky ST, Dickson D, et al. The diagnosis of mild cognitive impairment due to Alzheimer's disease: recommendations from the National Institute on Aging-Alzheimer's Association workgroups on diagnostic guidelines for Alzheimer's disease. Alzheimers Dement 2011; 7(3): 270-9.

3.	Blennow K, Dubois B, Fagan AM, Lewczuk P, de Leon MJ, Hampel H. Clinical utility of cerebrospinal fluid biomarkers in the diagnosis of early Alzheimer's disease. Alzheimers Dement 2015; 11(1): 58-69.

4.	Lleo A, Cavedo E, Parnetti L, et al. Cerebrospinal fluid biomarkers in trials for Alzheimer and Parkinson diseases. Nat Rev Neurol 2015; 11(1): 41-55.

5.	Jack CR, Jr., Knopman DS, Jagust WJ, et al. Tracking pathophysiological processes in Alzheimer's disease: an updated hypothetical model of dynamic biomarkers. Lancet Neurol 2013; 12(2): 207-16.

6.	Pievani M, de Haan W, Wu T, Seeley WW, Frisoni GB. Functional network disruption in the degenerative dementias. Lancet Neurol 2011; 10(9): 829-43.

7.	Villemagne VL, Ong K, Mulligan RS, et al. Amyloid imaging with (18)F-florbetaben in Alzheimer disease and other dementias. J Nucl Med 2011; 52(8): 1210-7.

8.	Vemuri P, Simon G, Kantarci K, et al. Antemortem differential diagnosis of dementia pathology using structural MRI: Differential-STAND. Neuroimage 2011; 55(2): 522-31.

9.	Mosconi L, Tsui WH, Herholz K, et al. Multicenter standardized 18F-FDG PET diagnosis of mild cognitive impairment, Alzheimer's disease, and other dementias. J Nucl Med 2008; 49(3): 390-8.

10.	Hahn K, Myers N, Prigarin S, et al. Selectively and progressively disrupted structural connectivity of functional brain networks in Alzheimer's disease - Revealed by a novel framework to analyze edge distributions of networks detecting disruptions with strong statistical evidence. Neuroimage 2013; 81: 96-109.

11.	Hastie T, Tibshirani R, Friedman J. The elements of statistical learning - data mining inference, and prediction. 2nd edition ed. New York: Springer; 2009.

12.	Weiner MW, Veitch DP, Aisen PS, et al. The Alzheimer's Disease Neuroimaging Initiative: a review of papers published since its inception. Alzheimers Dement 2013; 9(5): e111-94.

13.	Westman E, Simmons A, Muehlboeck JS, et al. AddNeuroMed and ADNI: similar patterns of Alzheimer's atrophy and automated MRI classification accuracy in Europe and North America. NeuroImage 2011; 58(3): 818-28.

14.	Nordberg A, Carter SF, Rinne J, et al. A European multicentre PET study of fibrillar amyloid in Alzheimer's disease. European journal of nuclear medicine and molecular imaging 2013; 40(1): 104-14.

15.	Villemagne VL, Fodero-Tavoletti MT, Masters CL, Rowe CC. Tau imaging: early progress and future directions. Lancet neurology 2015; 14(1): 114-24.

16.	Clark CM, Schneider JA, Bedell BJ, et al. Use of florbetapir-PET for imaging beta-amyloid pathology. JAMA : the journal of the American Medical Association 2011; 305(3): 275-83.

17.	Okello A, Koivunen J, Edison P, et al. Conversion of amyloid positive and negative MCI to AD over 3 years. An 11C-PIB PET study. Neurology 2009.

18.	Lim YY, Maruff P, Pietrzak RH, et al. Effect of amyloid on memory and non-memory decline from preclinical to clinical Alzheimer's disease. Brain 2014; 137(Pt 1): 221-31.

19.	Barthel H, Gertz HJ, Dresel S, et al. Cerebral amyloid-beta PET with florbetaben (18F) in patients with Alzheimer's disease and healthy controls: a multicentre phase 2 diagnostic study. Lancet Neurol 2011; 10(5): 424-35.

20.	Rowe C, Klunk W, Koeppe R, et al. The Centiloid Scale: Standardization of amyloid imaging measures Alzheimer's & Dementia 2013; 9(4): Suppl.: P8.

21.	Fodero-Tavoletti MT, Brockschnieder D, Villemagne VL, et al. In vitro characterization of [18F]-florbetaben, an Abeta imaging radiotracer. Nuclear medicine and biology 2012; 39(7): 1042-8.

22.	Ikonomovic MD, Abrahamson EE, Price JC, et al. Early AD pathology in a [C-11]PiB-negative case: a PiB-amyloid imaging, biochemical, and immunohistochemical study. Acta neuropathologica 2012; 123(3): 433-47.

23.	Sojkova J, Driscoll I, Iacono D, et al. In vivo fibrillar beta-amyloid detected using [11C]PiB positron emission tomography and neuropathologic assessment in older adults. Arch Neurol 2011; 68(2): 232-40.

24.	Burack MA, Hartlein J, Flores HP, Taylor-Reinwald L, Perlmutter JS, Cairns NJ. In vivo amyloid imaging in autopsy-confirmed Parkinson disease with dementia. Neurology 2010; 74(1): 77-84.

25.	Cairns NJ, Ikonomovic MD, Benzinger T, et al. Absence of Pittsburgh compound B detection of cerebral amyloid beta in a patient with clinical, cognitive, and cerebrospinal fluid markers of Alzheimer disease: a case report. Archives of neurology 2009; 66(12): 1557-62.

26.	Villemagne VL, McLean CA, Reardon K, et al. 11C-PiB PET studies in typical sporadic Creutzfeldt-Jakob disease. Journal of neurology, neurosurgery, and psychiatry 2009; 80(9): 998-1001.

27.	Ikonomovic MD, Klunk WE, Abrahamson EE, et al. Post-mortem correlates of in vivo PiB-PET amyloid imaging in a typical case of Alzheimer's disease. Brain : a journal of neurology 2008; 131(Pt 6): 1630-45.

28.	Bacskai BJ, Frosch MP, Freeman SH, et al. Molecular imaging with Pittsburgh Compound B confirmed at autopsy: a case report. Archives of neurology 2007; 64(3): 431-4.

29.	Driscoll I, Troncoso JC, Rudow G, et al. Correspondence between in vivo (11)C-PiB-PET amyloid imaging and postmortem, region-matched assessment of plaques. Acta neuropathologica 2012; 124(6): 823-31.

30.	Kadir A, Marutle A, Gonzalez D, et al. Positron emission tomography imaging and clinical progression in relation to molecular pathology in the first Pittsburgh Compound B positron emission tomography patient with Alzheimer's disease. Brain : a journal of neurology 2011; 134(Pt 1): 301-17.

31.	Leinonen V, Alafuzoff I, Aalto S, et al. Assessment of beta-amyloid in a frontal cortical brain biopsy specimen and by positron emission tomography with carbon 11-labeled Pittsburgh Compound B. Archives of neurology 2008; 65(10): 1304-9.

32.	Serrano GE, Sabbagh MN, Sue LI, et al. Positive florbetapir PET amyloid imaging in a subject with frequent cortical neuritic plaques and frontotemporal lobar degeneration with TDP43-positive inclusions. J Alzheimers Dis 2014; 42(3): 813-21.

33.	Sabri O, Sabbagh MN, Seibyl J, et al. Florbetaben PET imaging to detect amyloid beta plaques in Alzheimer disease: Phase 3 study. Alzheimers Dement 2015.

34.	Curtis C, Gamez JE, Singh U, et al. Phase 3 trial of flutemetamol labeled with radioactive fluorine 18 imaging and neuritic plaque density. JAMA Neurol 2015; 72(3): 287-94.

35.	Rinne JO, Wong DF, Wolk DA, et al. [(18)F]Flutemetamol PET imaging and cortical biopsy histopathology for fibrillar amyloid beta detection in living subjects with normal pressure hydrocephalus: pooled analysis of four studies. Acta neuropathologica 2012; 124(6): 833-45.

36.	Clark CM, Pontecorvo MJ, Beach TG, et al. Cerebral PET with florbetapir compared with neuropathology at autopsy for detection of neuritic amyloid-beta plaques: a prospective cohort study. Lancet neurology 2012; 11(8): 669-78.

37.	Sabbagh MN, Fleisher A, Chen K, et al. Positron emission tomography and neuropathologic estimates of fibrillar amyloid-beta in a patient with Down syndrome and Alzheimer disease. Archives of neurology 2011; 68(11): 1461-6.

38.	Yang L, Rieves D, Ganley C. Brain amyloid imaging--FDA approval of florbetapir F18 injection. The New England journal of medicine 2012; 367(10): 885-7.

39.	Johnson KA, Minoshima S, Bohnen NI, et al. Update on appropriate use criteria for amyloid PET imaging: Dementia experts, mild cognitive impairment, and education. Alzheimers Dement 2013; 9(4): e106-9.

40.	Joshi A, Koeppe RA, Fessler JA. Reducing between scanner differences in multi-center PET studies. Neuroimage 2009; 46(1): 154-9.

41.	Minoshima S, Frey KA, Koeppe RA, Foster NL, Kuhl DE. A diagnostic approach in Alzheimer's disease using three-dimensional stereotactic surface projections of fluorine-18-FDG PET. J Nucl Med 1995; 36(7): 1238-48.

42.	Minoshima S, Giordani B, Berent S, Frey KA, Foster NL, Kuhl DE. Metabolic reduction in the posterior cingulate cortex in very early Alzheimer's disease. Annals of neurology 1997; 42(1): 85-94.

43.	Magistretti PJ, Pellerin L. The contribution of astrocytes to the 18F-2-deoxyglucose signal in PET activation studies. Molecular Psychiatry 1996; 1(6): 445-52.

44.	Silverman DH, Small GW, Chang CY, et al. Positron emission tomography in evaluation of dementia: Regional brain metabolism and long-term outcome. JAMA : the journal of the American Medical Association 2001; 286(17): 2120-7.

45.	Jagust W, Reed B, Mungas D, Ellis W, DeCarli C. What does fluorodeoxyglucose PET imaging add to a clinical diagnosis of dementia? Neurology 2007; 69(9): 871-7.

46.	Yuan Y, Gu ZX, Wei WS. Fluorodeoxyglucose-positron-emission tomography, single-photon emission tomography, and structural MR imaging for prediction of rapid conversion to Alzheimer disease in patients with mild cognitive impairment: a meta-analysis. AJNR Am J Neuroradiol 2009; 30(2): 404-10.

47.	Zhang D, Shen D. Predicting future clinical changes of MCI patients using longitudinal and multimodal biomarkers. PloS one 2012; 7(3): e33182.

48.	Brück A, Virta JR, Koivunen J, et al. [11C]PIB, [18F]FDG and MR imaging in patients with mild cognitive impairment. European journal of nuclear medicine and molecular imaging 2013; 40(10): 1567-72.

49.	Kril JJ, Hodges J, Halliday G. Relationship between hippocampal volume and CA1 neuron loss in brains of humans with and without Alzheimer's disease. Neurosci Lett 2004; 361(1-3): 9-12.

50.	Freeman SH, Kandel R, Cruz L, et al. Preservation of neuronal number despite age-related cortical brain atrophy in elderly subjects without Alzheimer disease. J Neuropathol Exp Neurol 2008; 67(12): 1205-12.

51.	Jack CR, Jr., Dickson DW, Parisi JE, et al. Antemortem MRI findings correlate with hippocampal neuropathology in typical aging and dementia. Neurology 2002; 58(5): 750-7.

52.	Barnes J, Whitwell JL, Frost C, Josephs KA, Rossor M, Fox NC. Measurements of the amygdala and hippocampus in pathologically confirmed Alzheimer disease and frontotemporal lobar degeneration. Arch Neurol 2006; 63(10): 1434-9.

53.	Kloppel S, Stonnington CM, Chu C, et al. Automatic classification of MR scans in Alzheimer's disease. Brain 2008; 131(Pt 3): 681-9.

54.	Korf ES, Wahlund LO, Visser PJ, Scheltens P. Medial temporal lobe atrophy on MRI predicts dementia in patients with mild cognitive impairment. Neurology 2004; 63(1): 94-100.

55.	Tapiola T, Pennanen C, Tapiola M, et al. MRI of hippocampus and entorhinal cortex in mild cognitive impairment: a follow-up study. Neurobiology of aging 2008; 29(1): 31-8.

56.	Dickerson BC, Wolk DA. Biomarker-based prediction of progression in MCI: Comparison of AD signature and hippocampal volume with spinal fluid amyloid-beta and tau. Front Aging Neurosci 2013; 5: 55.

57.	Misra C, Fan Y, Davatzikos C. Baseline and longitudinal patterns of brain atrophy in MCI patients, and their use in prediction of short-term conversion to AD: results from ADNI. NeuroImage 2009; 44(4): 1415-22.

58.	Eskildsen SF, Coupe P, Garcia-Lorenzo D, Fonov V, Pruessner JC, Collins DL. Prediction of Alzheimer's disease in subjects with mild cognitive impairment from the ADNI cohort using patterns of cortical thinning. NeuroImage 2013; 65: 511-21.

59.	Liu Y, Mattila J, Ruiz MA, et al. Predicting AD conversion: comparison between prodromal AD guidelines and computer assisted PredictAD tool. PLoS One 2013; 8(2): e55246.

60.	Fleisher AS, Sun S, Taylor C, et al. Volumetric MRI vs clinical predictors of Alzheimer disease in mild cognitive impairment. Neurology 2008; 70(3): 191-9.

61.	Devanand DP, Liu X, Tabert MH, et al. Combining early markers strongly predicts conversion from mild cognitive impairment to Alzheimer's disease. Biological psychiatry 2008; 64(10): 871-9.

62.	Delbeuck X, Van der Linden M, Collette F. Alzheimer's disease as a disconnection syndrome? Neuropsychol Rev 2003; 13(2): 79-92.

63.	Song SK, Sun SW, Ju WK, Lin SJ, Cross AH, Neufeld AH. Diffusion tensor imaging detects and differentiates axon and myelin degeneration in mouse optic nerve after retinal ischemia. NeuroImage 2003; 20(3): 1714-22.

64.	Teipel SJ, Reuter S, Stieltjes B, et al. Multicenter stability of diffusion tensor imaging measures: A European clinical and physical phantom study. Psychiatry Res 2011; 194(3): 363-71.

65.	Biswal BB, Mennes M, Zuo XN, et al. Toward discovery science of human brain function. Proceedings of the National Academy of Sciences of the United States of America 2010; 107(10): 4734-9.

66.	Jiang X, Zhang X, Zhu D. Intrinsic Functional Component Analysis via Sparse Representation on Alzheimer's Disease Neuroimaging Initiative Database. Brain Connect 2014; 4(8): 575-86.

67.	Thomas JB, Brier MR, Bateman RJ, et al. Functional connectivity in autosomal dominant and late-onset Alzheimer disease. JAMA neurology 2014; 71(9): 1111-22.

68.	Gouw AA, Seewann A, Vrenken H, et al. Heterogeneity of white matter hyperintensities in Alzheimer's disease: post-mortem quantitative MRI and neuropathology. Brain 2008; 131(Pt 12): 3286-98.

69.	Keller CJ, Bickel S, Honey CJ, et al. Neurophysiological investigation of spontaneous correlated and anticorrelated fluctuations of the BOLD signal. J Neurosci 2013; 33(15): 6333-42.

70.	Clerx L, Visser PJ, Verhey F, Aalten P. New MRI markers for Alzheimer's disease: a meta-analysis of diffusion tensor imaging and a comparison with medial temporal lobe measurements. J Alzheimers Dis 2012; 29(2): 405-29.

71.	Bellman R. Adaptive Control Processes. A Guided Tour. Princeton, NJ: Princeton University Press, 1961.

72.	James GA, Witten D, Hastie T, Tibshirani R. An Introduction to Statistical Learning with Applications in R. New York: Springer; 2013.

73.	McMillan CT, Avants BB, Cook P, Ungar L, Trojanowski JQ, Grossman M. The power of neuroimaging biomarkers for screening frontotemporal dementia. Human brain mapping 2014; 35(9): 4827-40.

74.	Zou H, Hastie T. Regularization and variable selection via the elastic net. JRStatist Soc B 2005; 67: 301-20.

75.	Teipel SJ, Kurth J, Krause B, Grothe MJ. The relative importance of imaging markers for the prediction of Alzheimer’s disease dementia in mild cognitive impairment – beyond classical regression. Neuroimage Clinical 2015; in press.

76.	Hardy J, Selkoe DJ. The amyloid hypothesis of Alzheimer's disease: progress and problems on the road to therapeutics. Science (New York, NY) 2002; 297(5580): 353-6.

77.	Chételat G, La Joie R, Villain N, et al. Amyloid imaging in cognitively normal individuals, at-risk populations and preclinical Alzheimer's disease. NeuroImage Clinical 2013; 2: 356-65.

78.	Morris JC, Roe CM, Grant EA, et al. Pittsburgh compound B imaging and prediction of progression from cognitive normality to symptomatic Alzheimer disease. Arch Neurol 2009; 66(12): 1469-75.

79.	Forster S, Grimmer T, Miederer I, et al. Regional expansion of hypometabolism in Alzheimer's disease follows amyloid deposition with temporal delay. Biological psychiatry 2012; 71(9): 792-7.

80.	Jack CR, Jr., Knopman DS, Weigand SD, et al. An operational approach to National Institute on Aging-Alzheimer's Association criteria for preclinical Alzheimer disease. Annals of neurology 2012; 71(6): 765-75.

81.	Knopman DS, Jack CR, Wiste HJ, et al. Short-term clinical outcomes for stages of NIA-AA preclinical Alzheimer disease. Neurology 2012; 78(20): 1576-82.

82.	Knopman DS, Jack CR, Wiste HJ, et al. Brain injury biomarkers are not dependent on β-amyloid in normal elderly: Neuronal Injury Biomarkers. Ann Neurol 2013; 73(4): 472-80.

83.	Chételat G. Alzheimer disease: Aβ-independent processes—rethinking preclinical AD. Nature Reviews Neurology 2013; 9(3): 123-4.

84.	Landau SM, Harvey D, Madison CM, et al. Comparing predictors of conversion and decline in mild cognitive impairment. Neurology 2010; 75(3): 230-8.

85.	Frisoni GB, Bocchetta M, Chételat G, et al. Imaging markers for Alzheimer disease: which vs how. Neurology 2013; 81(5): 487-500.

86.	Hatashita S, Yamasaki H. Diagnosed mild cognitive impairment due to Alzheimer's disease with PET biomarkers of beta amyloid and neuronal dysfunction. PLoS One 2013; 8(6): e66877.

87.	Zhang S, Han D, Tan X, Feng J, Guo Y, Ding Y. Diagnostic accuracy of 18 F-FDG and 11 C-PIB-PET for prediction of short-term conversion to Alzheimer's disease in subjects with mild cognitive impairment. Int J Clin Pract 2012; 66(2): 185-98.

88.	Bateman RJ, Xiong C, Benzinger TL, et al. Clinical and biomarker changes in dominantly inherited Alzheimer's disease. The New England journal of medicine 2012; 367(9): 795-804.

89.	Jack CR, Jr., Wiste HJ, Vemuri P, et al. Brain beta-amyloid measures and magnetic resonance imaging atrophy both predict time-to-progression from mild cognitive impairment to Alzheimer's disease. Brain : a journal of neurology 2010; 133(11): 3336-48.

90.	Bouwman FH, Verwey NA, Klein M, et al. New research criteria for the diagnosis of Alzheimer's disease applied in a memory clinic population. Dement Geriatr Cogn Disord 2010; 30(1): 1-7.

91.	Galluzzi S, Geroldi C, Ghidoni R, et al. The new Alzheimer's criteria in a naturalistic series of patients with mild cognitive impairment. J Neurol 2010; 257(12): 2004-14.

92.	Panegyres PK, Rogers JM, McCarthy M, Campbell A, Wu JS. Fluorodeoxyglucose-positron emission tomography in the differential diagnosis of early-onset dementia: a prospective, community-based study. BMC Neurol 2009; 9: 41.

93.	Fox C, Lafortune L, Boustani M, Dening T, Rait G, Brayne C. Screening for dementia - is it a no brainer? Int J Clin Pract 2013; 67(11): 1076-80.

94.	Kaduszkiewicz H, Zimmermann T, Van den Bussche H, et al. Do general practitioners recognize mild cognitive impairment in their patients? The journal of nutrition, health & aging 2010; 14(8): 697-702.

95.	Eichler T, Thyrian JR, Hertel J, et al. Rates of formal diagnosis in people screened positive for dementia in primary care: results of the DelpHi-Trial. J Alzheimers Dis 2014; 42(2): 451-8.

96.	Boustani M, Callahan CM, Unverzagt FW, et al. Implementing a screening and diagnosis program for dementia in primary care. J Gen Intern Med 2005; 20(7): 572-7.

97.	Pepe MS, Etzioni R, Feng Z, et al. Phases of biomarker development for early detection of cancer. Journal of the National Cancer Institute 2001; 93(14): 1054-61.

98.	Grundman M, Pontecorvo MJ, Salloway SP, et al. Potential impact of amyloid imaging on diagnosis and intended management in patients with progressive cognitive decline. Alzheimer disease and associated disorders 2013; 27(1): 4-15.

99.	Thyrian JR, Fiss T, Dreier A, et al. Life- and person-centred help in Mecklenburg-Western Pomerania, Germany (DelpHi): study protocol for a randomised controlled trial. Trials 2012; 13(1): 56.

100.	Zhang S, Smailagic N, Hyde C, et al. (11)C-PIB-PET for the early diagnosis of Alzheimer's disease dementia and other dementias in people with mild cognitive impairment (MCI). Cochrane Database Syst Rev 2014; 7: CD010386.

101.	Ma Y, Zhang S, Li J, et al. Predictive accuracy of amyloid imaging for progression from mild cognitive impairment to Alzheimer disease with different lengths of follow-up: a meta-analysis. [Corrected]. Medicine (Baltimore) 2014; 93(27): e150.

102.	Mosconi L, Perani D, Sorbi S, et al. MCI conversion to dementia and the APOE genotype: a prediction study with FDG-PET. Neurology 2004; 63(12): 2332-40.

103.	Drzezga A, Grimmer T, Riemenschneider M, et al. Prediction of individual clinical outcome in MCI by means of genetic assessment and (18)F-FDG PET. J Nucl Med 2005; 46(10): 1625-32.

104.	Arbizu J, Prieto E, Martinez-Lage P, et al. Automated analysis of FDG PET as a tool for single-subject probabilistic prediction and detection of Alzheimer's disease dementia. European journal of nuclear medicine and molecular imaging 2013; 40(9): 1394-405.

105.	Duara R, Loewenstein DA, Potter E, et al. Medial temporal lobe atrophy on MRI scans and the diagnosis of Alzheimer disease. Neurology 2008; 71(24): 1986-92.

106.	Clerx L, van Rossum IA, Burns L, et al. Measurements of medial temporal lobe atrophy for prediction of Alzheimer's disease in subjects with mild cognitive impairment. Neurobiology of aging 2013; 34(8): 2003-13.

107.	Westman E, Cavallin L, Muehlboeck JS, et al. Sensitivity and specificity of medial temporal lobe visual ratings and multivariate regional MRI classification in Alzheimer's disease. PloS one 2011; 6(7): e22506.

108.	Bresciani L, Rossi R, Testa C, et al. Visual assessment of medial temporal atrophy on MR films in Alzheimer's disease: comparison with volumetry. Aging Clin Exp Res 2005; 17(1): 8-13.

109.	Ridha BH, Barnes J, van de Pol LA, et al. Application of automated medial temporal lobe atrophy scale to Alzheimer disease. Archives of neurology 2007; 64(6): 849-54.

110.	Dickerson BC, Goncharova I, Sullivan MP, et al. MRI-derived entorhinal and hippocampal atrophy in incipient and very mild Alzheimer's disease. Neurobiol Aging 2001; 22(5): 747-54.

111.	Ferrarini L, Frisoni GB, Pievani M, Reiber JH, Ganzola R, Milles J. Morphological hippocampal markers for automated detection of Alzheimer's disease and mild cognitive impairment converters in magnetic resonance images. J Alzheimers Dis 2009; 17(3): 643-59.

112.	Devanand DP, Bansal R, Liu J, Hao X, Pradhaban G, Peterson BS. MRI hippocampal and entorhinal cortex mapping in predicting conversion to Alzheimer's disease. NeuroImage 2012; 60(3): 1622-9.

113.	Boutet C, Chupin M, Colliot O, et al. Is radiological evaluation as good as computer-based volumetry to assess hippocampal atrophy in Alzheimer's disease? Neuroradiology 2012; 54(12): 1321-30.

114.	Chupin M, Gerardin E, Cuingnet R, et al. Fully automatic hippocampus segmentation and classification in Alzheimer's disease and mild cognitive impairment applied on data from ADNI. Hippocampus 2009; 19(6): 579-87.

115.	Ewers M, Walsh C, Trojanowski JQ, et al. Prediction of conversion from mild cognitive impairment to Alzheimer's disease dementia based upon biomarkers and neuropsychological test performance. Neurobiol Aging 2012; 33(7): 1203-14.

116.	Costafreda SG, Dinov ID, Tu Z, et al. Automated hippocampal shape analysis predicts the onset of dementia in mild cognitive impairment. NeuroImage 2011; 56(1): 212-9.

117.	Leung KK, Barnes J, Ridgway GR, et al. Automated cross-sectional and longitudinal hippocampal volume measurement in mild cognitive impairment and Alzheimer's disease. Neuroimage 2010; 51(4): 1345-59.

118.	Wee CY, Yap PT, Shen D. Prediction of Alzheimer's disease and mild cognitive impairment using cortical morphological patterns. Human brain mapping 2013; 34(12): 3411-25.

119.	Aguilar C, Westman E, Muehlboeck JS, et al. Different multivariate techniques for automated classification of MRI data in Alzheimer's disease and mild cognitive impairment. Psychiatry research 2013; 212(2): 89-98.

120.	Lebedev AV, Westman E, Van Westen GJ, et al. Random Forest ensembles for detection and prediction of Alzheimer's disease with a good between-cohort robustness. Neuroimage Clin 2014; 6: 115-25.

121.	Cho Y, Seong JK, Jeong Y, Shin SY. Individual subject classification for Alzheimer's disease based on incremental learning using a spatial frequency representation of cortical thickness data. Neuroimage 2012; 59(3): 2217-30.

122.	Gaser C, Franke K, Kloppel S, Koutsouleris N, Sauer H. BrainAGE in Mild Cognitive Impaired Patients: Predicting the Conversion to Alzheimer's Disease. PLoS One 2013; 8(6): e67346.

123.	Moradi E, Pepe A, Gaser C, Huttunen H, Tohka J, Alzheimer's Disease Neuroimaging I. Machine learning framework for early MRI-based Alzheimer's conversion prediction in MCI subjects. NeuroImage 2015; 104: 398-412.

124.	Mielke MM, Okonkwo OC, Oishi K, et al. Fornix integrity and hippocampal volume predict memory decline and progression to Alzheimer's disease. Alzheimers Dement 2012; 8(2): 105-13.

125.	Douaud G, Menke RA, Gass A, et al. Brain Microstructure Reveals Early Abnormalities more than Two Years prior to Clinical Progression from Mild Cognitive Impairment to Alzheimer's Disease. J Neurosci 2013; 33(5): 2147-55.

126.	Selnes P, Aarsland D, Bjornerud A, et al. Diffusion tensor imaging surpasses cerebrospinal fluid as predictor of cognitive decline and medial temporal lobe atrophy in subjective cognitive impairment and mild cognitive impairment. J Alzheimers Dis 2013; 33(3): 723-36.

127.	Scola E, Bozzali M, Agosta F, et al. A diffusion tensor MRI study of patients with MCI and AD with a 2-year clinical follow-up. J Neurol Neurosurg Psychiatry 2010; 81(7): 798-805.

128.	Fellgiebel A, Dellani PR, Greverus D, Scheurich A, Stoeter P, Muller MJ. Predicting conversion to dementia in mild cognitive impairment by volumetric and diffusivity measurements of the hippocampus. Psychiatry research 2006; 146(3): 283-7.

129.	Haller S, Nguyen D, Rodriguez C, et al. Individual prediction of cognitive decline in mild cognitive impairment using support vector machine-based analysis of diffusion tensor imaging data. J Alzheimers Dis 2010; 22(1): 315-27.

130.	Bai F, Liao W, Watson DR, et al. Abnormal whole-brain functional connection in amnestic mild cognitive impairment patients. Behav Brain Res 2011; 216(2): 666-72.

131.	Petrella JR, Sheldon FC, Prince SE, Calhoun VD, Doraiswamy PM. Default mode network connectivity in stable vs progressive mild cognitive impairment. Neurology 2011; 76(6): 511-7.

132.	Shaffer JL, Petrella JR, Sheldon FC, et al. Predicting cognitive decline in subjects at risk for Alzheimer disease by using combined cerebrospinal fluid, MR imaging, and PET biomarkers. Radiology 2013; 266(2): 583-91.

133.	Young J, Modat M, Cardoso MJ, et al. Accurate multimodal probabilistic prediction of conversion to Alzheimer's disease in patients with mild cognitive impairment. Neuroimage Clin 2013; 2: 735-45.

134.	Chen K, Ayutyanont N, Langbaum JB, et al. Characterizing Alzheimer's disease using a hypometabolic convergence index. NeuroImage 2011; 56(1): 52-60.

135.	Vandenberghe R, Nelissen N, Salmon E, et al. Binary classification of (1)(8)F-flutemetamol PET using machine learning: comparison with visual reads and structural MRI. NeuroImage 2013; 64: 517-25.

136.	Trzepacz PT, Yu P, Sun J, et al. Comparison of neuroimaging modalities for the prediction of conversion from mild cognitive impairment to Alzheimer's dementia. Neurobiol Aging 2014; 35(1): 143-51.

137.	Prestia A, Caroli A, Wade SK, et al. Prediction of AD dementia by biomarkers following the NIA-AA and IWG diagnostic criteria in MCI patients from three European memory clinics. Alzheimers Dement 2015.

138.	Ossenkoppele R, Prins ND, Pijnenburg YA, et al. Impact of molecular imaging on the diagnostic process in a memory clinic. Alzheimers Dement 2012.

Panel 1: Current criteria for the appropriateness and non-appropriateness of clinical routine use of amyloid-PET according to39

| Amyloid-PET use appropriate | Amyloid-PET use not appropriate |
| --- | --- |
| - Persistent or progressive unexplained memory problems and impairments demonstrated by standard medical exams | - In patients who are 65 years or older and meet standard definitions and tests for AD |
| - Unusual clinical presentation | - Without clinical confirmation of cognitive impairment |
| - Atypically early age of onset | - To determine dementia severity |
|  | - If requested solely on the basis of a family history of dementia or the presence of APOE e4 |
|  | - As a substitute for genotyping |
|  | - For non-medical reasons |

Table 1. Potential of imaging markers to predict conversion from MCI to AD dementia

| Studies | Marker | Conversion from MCI to AD dementia | Comments |
| --- | --- | --- | --- |
|  | Amyloid-PET |  |  |
| Zhang et al100 | Quantitative analysis | Pooled sensitivity: 96% [95% CI: 87-99%] Median specificity: 58% Follow-up: 1.5 to 3 years | Meta-analysis of 274 MCI cases in 9 studies |
| Ma et al101 | Visual read and quantitative analysis | Pooled sensitivity: 95% [95% CI: 90-98%] Pooled specificity: 57% [95% CI: 50-64%] Follow-up: 1.5 to 4 years | Meta-analysis of 352 MCI cases in 11 studies; specificity increased with increasing follow-up duration |
|  | FDG-PET |  |  |
| Mosconi et al102 | SPM99 Global normalization Voxel-based / ROI | Accuracy: 84% for the entire group; 94% for APOE4+ group Follow-up: one year | MCI n=37 |
| Drzezga et al103 | NEUROSTAT/3D-SSP Global / Pons normalization Voxel-based / ROI | Sensitivity: 92% Specificity: 89% PPV: 85% NPV: 94% Follow-up: 16 months | MCI n=30 Combination with APOE genotypes further increased diagnostic accuracy |
| Landau et al84 | SPM5 Cerebellum / pons normalization Predefined ROI | Sensitivity: 82% Specificity: 70% Accuracy: 76% PPV: 41% NPV: 79% Follow-up: 2 years | MCI n=85 from ADNI data |
| Brück et al48 | SPM99 Pons normalization Predefined ROI | Sensitivity: 78% Specificity: 87% Follow-up: 2 years | MCI n=22 |
| Arbizu et al104 | SPM8 Pons normalization Voxel-based | Sensitivity: 92% Specificity: 62% PPV: 51% NPV: 95% Follow-up: 1.5 to 2 years | MCI n=121 from ADNI data; additional sample of n=27 MCI for cross-validation. Addition of PET to MMSE and ApoE4 increased accuracy for conversion from 74 to 80%. Accuracy even higher in the validation sample. |
|  | Structural MRI |  |  |
| Korf et al54 Duara et al105 Clerx et al106 Westman et al107 Bresciani et al108 Ridha et al109 | Visual rating of MTL volume | Monocentre studies HR: 1.6 - 3.1 Follow-up: 1-3 years Multicentre studies Accuracy: 65%-68% Follow-up: 1-2 years | Easy to carry out in clinical routine; good correlation with hippocampus volume; not sensitive for longitudinal rates of change |
| Devanand et al61 Dickerson et al110 Ferrarini et al111 Clerx et al106 Devanand et al112 Boutet et al113 | Manual Volumetry of MTL structures | Monocentre studies hippocampus (Hippo) and entorhinal cortex (ERC) Accuracy: 78% - 84% Follow-up: 1-4 years Subregional Hippo shape Accuracy: 80% Follow-up: 1.5 years Multicentre studies: Hippo volume Accuracy: 71% Follow-up: 2 years | ERC volumes slightly superior to Hippo volumes. MTL volumes provide added value to prediction models based on variables of cognition and everyday function. Subregional change in shape was superior to Hippo and ERC volumes in combined prediction models. Superior to visual rating scales for detecting subtle atrophic changes and for predicting conversion to AD. Manual delineations limited to anatomical boundaries and labor-intensive; not suitable for large scale multicentre data. |
| Clerx et al106 Chupin et al114 Ewers et al115 Costafreda et al116 Dickerson et al56 Leung et al117 | Automated assessment of MTL and cortical summary ROIs | Hippo and ERC volumes Accuracy: 65% -71% Follow-up: 1.5 - 3 years Subregional Hippo shape Accuracy: 80% Follow-up: 1 year (post-hoc probability) Summary metric of cortical ROIs OR: 2.7 (1 year) - 1.9 (3 years) | Automatic segmentations of Hippo show high anatomical overlap with manual delineations (>80%). Permits volume extraction in large data sets and from ROIs not amenable to manual delineation. Single anatomic measurements or summary metrics of distributed ROIs do not account for differential atrophy pattern across the entire brain. |
| Eskilden et al58 Liu et al59 Wee et al118 Aguilar et al119 Lebedev120 | Multi-ROI pattern classifiers | AD-typical atrophy pattern Accuracy: 70% - 80%, Follow-up: 6 months to 3 years | AD-typical atrophy pattern across several ROIs are learned using independent training datasets. Multi ROI pattern classifiers complement information from MTL atrophy with information from other brain regions. Optimal settings for ROI and structural metric selection not clear and probably stage-dependent. Performance depends on training data and the statistical model chosen. |
| Cho et al121 Gaser et al122 Lebedev120 Moradi et al123 | Whole-brain voxel-based pattern classifiers | AD-typical atrophy pattern Accuracy: 70% - 80% Follow-up: 1 – 3 years | Advantage over multi ROI-based pattern classifiers not clear. Whole-brain voxel-based classifiers are better at detecting AD-typical atrophy patterns independently of anatomical boundaries, but are also more sensitive to noise. |
|  | DTI |  |  |
| Mielke et al124 Douaud et al125 Selnes et al126 Scola et al127 Fellgiebel et al128 | Regional measures of white matter integrity | Diffusion metrics of limbic white matter (fornix, posterior cingulum, parahippocampal gyrus) Accuracy: 77% - 95% Follow-up: 2 - 3 years | Diffusion metrics better predictors than volumetric measurements in some studies. Mean Diffusivity seems to be the best diffusion metric for prediction of conversion. Only monocentric studies with limited sample sizes (N < 64). |
| Haller et al129 | Whole-brain voxel-based pattern classifiers (FA, MD, AxD, RaD) | AD-typical atrophy patterns throughout the brain for classification into stable or progressive MCI Accuracy: 98% Follow-up: 1 year | Progressive MCI defined as “significant cognitive and clinical decline” over 1 year follow-up. Only 26% of progressive MCI received diagnosis of (AD) dementia. The method's performance in multicentre settings has yet to be shown. |
|  | Resting-state fMRI |  |  |
| Bai et al130 | Connectivity of hippocampal regions | Disconnection between hippocampal subfields and posterior cingulate cortex Accuracy: 90% Follow-up: 20 months | Relatively small monocentre sample with relatively short follow-up interval (20 months) |
| Petrella et al131 | Dysfunction of Default Mode Network (DMN) | Index of individual coactivation of the DMN regression analysis predicts conversion to AD Follow-up: 2 - 3 years | Spatial index of DMN expression (Goodness of fit) promising functional marker. Accuracy rates for group separation and HR for conversion not reported. |
|  | Multimodal Imaging |  |  |
| Zhang et al47 | FDG-PET and structural MRI | ADNI-dataset Application of a multi-kernel support vector machine and a longitudinal feature selection method Accuracy: baseline data only: 72.7%, including longitudinal data: 78.4% Follow-up: 2 years | Combined model with FDG-PET, structural MRI and cognitive testing data resulted in superior prediction as compared to any of the single methods. The complex statistical approach and the inclusion of longitudinal data may not be easily transferable to a clinical routine setting. |
| Yuan et al46 |  | Metaanalysis in 1,112 patients. Balanced Accuracy: MRI: 76.9%, FDG-PET: 86.9 % Follow-up: 12-60 months | Superior predictive performance of FDG-PET versus MRI, but no direct multimodal comparison of different methods in the same sample. Highly variable follow-up intervals in the different studies. |
| Schaffer et al132 |  | ADNI-dataset Evaluation of the prognostic value of MRI, FDG-PET, and CSF data and of several combinations thereof. Accuracy: FDG-PET added the most prognostic information (Area under the curve (AUC) 0.87), compared with MRI (0.74) and CSF (0.70). A combination of all markers resulted in an AUC of 0.92 Follow-up: 31.5±10 months | The model with the highest efficiency includes only clinical tests and FDG-PET, suggesting that the benefit of additional diagnostic tests is questionable. |
| Landau et al84 |  | ADNI-dataset Multivariate analysis including structural MRI and FDG-PET, CSF markers and cognitive tests Hazard-ratio FDG-PET: 2.72 Follow up: 1.9 ± 0.4 years | Only FDG-PET and impaired episodic memory predicted conversion to AD. Hippocampal volume was not associated with either risk for cognitive decline or for conversion to manifest dementia |
| Young et al133 |  | ADNI-dataset Gaussian process classification was used to integrate multimodal data. Balanced Accuracy: MRI: 61,1%, FDG-PET: 69,4 %, Multimodal combination of MRI, PET and CSF/APOE genotype: 72,2% Follow-up: 36 months | CSF was demonstrated to have inferior predictive value as compared to imaging. |
| Chen et al134 |  | ADNI-Dataset Extent and magnitude of hypometabolism in FDG-PET were assessed across the entire brain by definition of a „hypometabolic index“. HR: FDG-PET/Hypometabolic index: 7.38, MRI hippocampal volume: 6.34 Combination of both: 36.72 Follow up: 18 months | The „hypometabolic index“ may include some effects of atrophy due to partial volume effects. |
| Vandenberghe et al135 | Amyloid-PET and structural MRI | Support vector machine classifiers on amyloid-PET and structural MRI data Sensitivity/Specificity Amyloid-PET: 89%/82% MRI: 78%/36% Follow up: 2 years | Using a support vector machine, the amyloid-PET (18F-flutemetamol) based classifier distinguished more reliably between converters and non-converters than the grey matter-based classifier. The small sample size (n= 11 MCI non converters and n= 9 MCI converters) limits the generalizability of these results. |
| Jack et al89 |  | ADNI-dataset Endpoint was time to conversion HR: In amyloid-positive MCI, hippocampal atrophy predicted shorter time-to-progression (HR 2.0) while Aβ-load did not (HR 1.2). Among all (amyloid-positive and -negative) subjects, hippocampal atrophy and Aβ-load were comparable (HR 2.6). Follow up: 1.7 years | Aβ-load reached a ceiling and was decoupled from risk of progression at high levels. Hippocampal atrophy showed a more linear profile along the neurodegenerative path. |
| Hatashita et al86 | FDG-PET and Amyloid-PET | ROI-based evaluation (manually drawn) of PiB-PET and FDG-PET data Balanced accuracy: PiB-PET: 69,4 %, FDG-PET: 58,5%, combination of both: 59,1% Follow up: 19.2±7.1 months | Reported specificity values are unusually low (down to 18.1 %). This raises some questions about the consistency of the applied methods with other studies. Specificities were found to be higher in subjects aged > 75 years. |
| Zhang et al87 |  | Metaanalysis 492 patients Balanced accuracy: PiB-PET: 74,9 %, FDG-PET: 76,4% Follow-up: 12-36 months | The data suggest a higher sensitivity of [11C]PiB but a higher specificity of [18F]FDG. This supports the notion that hypometabolic abnormalities maybe closer related to short-term prognosis. |
| Trzepacz et al136 | FDG-PET, Amyloid-PET and structural MRI | ADNI-dataset Multivariate modelling. Accuracy: A higher accuracy was found for a combination of MRI and amyloid-PET (PiB) as compared to any single biomarker (MRI 67%, PiB-PET 66% and FDG-PET 62%). Follow-up: 2 years | The study was funded by Eli Lilly and most authors report affiliations with this company (Eli/Lilly is involved in the marketing of an amyloid-PET-tracer) Results are somewhat contradicting to other ADNI-studies, particularly regarding the unusually low sensitivity values reported (e.g. FDG-PET: 10%). This raises some questions about the consistency of the applied methods with other studies. |
| Brück et al48 |  | - Multi-ROI-based models and voxel-based pattern classifiers. Accuracy: PIB 70%, FDG 82 % (no significant difference). Both methods superior to assessment of hippocampal volumes in predicting conversion to AD. Follow-up: 2 years | Prospective study, but small sample (n=22 subjects with MCI) reveals comparable performance of amyloid-PET and FDG-PET, but unusually low performance of structural MRI. |
| Prestia et al.137 |  | - FDG-PET and hippocampus volumetry and CSF-based assessment of Abeta42. - Accuracy: FDG 84%, Hippocampus volume 68%; | Prospective study on medium size sample of 73 subjects with MCI from three memory clincis, followed on average between 2 and 3 years. FDG-PET was the best single performing marker, yielding high sensitivity and specificity (80% and higher). |

| SUVR | standard uptake value ratio; ratio of the tracer retention in the target region to the tracer retention in a reference region (typically cerebellum) |
| --- | --- |
| SPM99/SPM5/SPM8 | statistical parametric mapping software; subsequent versions provide updated algorithms for stereotactical normalisation of brain scans (http://www.fil.ion.ucl.ac.uk/spm) |
| NEUROSTAT/3D-SSP | Software for PET quantitative analysis that uses three-dimensional stereotactic surface projection (3D-SSP) to account for inter-individual differences in cortical anatomy (http://www.rad.washington.edu/research/Research/groups/nbl/neurostat-3d-ssp) |
| ROI | Region of interest; manually drawn or automatically defined brain region that serves as reference for normalization or as target region for analysis |
| ADNI | Alzheimer’s Disease Neuroimaging Initiative; (http://adni.loni.usc.edu) |
| OR | Odds ratio; i.e. the ratio between the odds that a subject that has an abnormal imaging finding converts to AD to the odds that a subject that does not have an abnormal imaging finding converts to AD |
| HR | Hazard ratio; the chance of conversion in the subjects with an abnormal imaging finding divided by the chance of conversion in the subjects without an abnormal imaging finding. |
| PPV/NPV | Positive/negative predictive value; number of converters (non-converters) relative to all subjects with a positive (negative) imaging finding; value depends on the prevalence of the endpoint conversion in the sample. |
| MTL | medial temporal lobe volume |
| Hippo | Hippocampus |
| ERC | entorhinal cortex |
| FA | fractional anisotropy |
| MD | mean diffusivity |
| AxD | axial diffusivity |
| RaD | radial diffusivity |
| DMN | Default mode network |
| CSF | cerebrospinal fluid |
| AUC | Area under the receiver operating characteristics curve; measure of accuracy in a binary forced choice decision (e.g. conversion vs. non- conversion) |

Table 2: Imaging markers for prodromal AD used in a specialized care setting

| Studies | Study sample | Outcomes | Marker | Result |
| --- | --- | --- | --- | --- |
| Bouwman et al90 | 65 MCI | Converted into AD vs. stable | MTL (MRI) + memory | 91% specificity, 27% sensitivity for conversion into AD. Memory alone: 54% specificity, 80% sensitivity |
| Galluzzi et al91 | 90 MCI | Converted into AD vs. converted into non-AD vs. stable | MTL (MRI), FDG-PET, CSF | MTL: 100% sensitivity, 52% specificity for AD FDG-PET: 70% sensitivity and 50% specificity CSF: 100% sensitivity, 65% specificity for AD |
| Ossenkoppele et al138 | 16 MCI | AD vs. non-AD vs. normal vs. other | FDG-PET, PIB-PET | FDG-PET: 71% sensitivity, 100% specificity PIB-PET: 86% sensitivity, 100% specificity |
| Panegyres et al92 | 102 subjects with early onset dementia | AD vs. non AD dementias | FDG-PET (vs. diagnostic work-up according to dementia guidelines) | FDG-PET yielded sensitivity of 78% and specificity of 81% for AD relative to clinical diagnosis |

MTL		 medial temporal lobe volume

CSF		cerebrospinal fluid

Table 3: General framework for the stepwise development of biomarkers for case finding: application to the pre-dementia diagnosis of Alzheimer’s disease (adapted from97)

|  | General statement | Translation to Alzheimer’s |
| --- | --- | --- |
| Phase 1—Exploratory Studies | Primary Aims: To identify leads for potentially useful biomarkers and prioritize identified leads. | Neurobiological studies show that plaques contain Aβ42; neurofibrillary tangles contain hyperphosphorylated tau; neuronal loss in the hippocampus; and glucose being the primary metabolic substrate of synaptic function. |
| Phase 2—Clinical Assay Development for Clinical Disease | Primary Aim: to estimate the true and false positive rates for distinguishing subjects with and without the disease. | Case-control studies show that AD biomarkers separate AD dementia patients from older healthy volunteers. The standard of truth should be the pathological diagnosis of AD. |
|  | Secondary Aims 1) To optimize procedures for performing the assay and to assess the reproducibility of the assay within and between laboratories. | Development of SOPs for AD imaging data collection , e.g. ADNI or EDSD sequences for high-resolution volumetric MR, EADC-ADNI harmonized protocol for manual hippocampal segmentation, the CENTILOID project for signal acquisition and interpretation of fluorinated PET amyloid ligands, FDG-PET: NEST-DD |
|  | 2) To determine the relationship between biomarker tissue measurements made on tissue (phase 1) and the biomarker measurements made on the noninvasive clinical specimen (phase 2). | Correlation between: hippocampal volume on MR in vivo and neurodegenerative changes on pathology; uptake of fluorinated PET amyloid ligands in vivo and senile plaque density on pathology; and glucose consumption in association cortex in vivo and neurodegenerative changes on pathology. |
|  | 3) To assess factors (e.g. sex, age, etc.), associated with biomarker status or level in control subjects. If such factors affect the biomarker, thresholds for test positivity may need to be defined separately for target subpopulations. | Correlation between hippocampal and intracranial volume in healthy persons. |
|  | 4) To assess factors associated with biomarker status or level in diseased subjects—in particular, disease characteristics. | Effect size of most core biomarkers varies by age at onset. |
| Phase 3—Retrospective Longitudinal Repository Studies on prodromal disease | Primary Aims: to evaluate the capacity of the biomarker to detect prodromal disease and define criteria for a biomarker positive test in preparation for phase 4 | Predictivity of incident AD dementia in MCI patients and healthy older volunteers by individual biomarkers and combinations. |
|  | Secondary Aims 1) To explore the impact of covariates on the discriminatory abilities of the biomarker before clinical diagnosis. | Preliminary evidence on association of age at onset with predictivity of core biomarkers. |
|  | 2) To compare markers with a view to selecting those that are most promising. | Preliminary evidence on association of two or more core biomarkers. |
|  | 3) To develop algorithms for positivity based on combinations of markers. | Preliminary evidence on association of CSF Aβ42, FDG-PET, and hippocampal atrophy. |
|  | 4) To determine a biomarker testing interval for phase 4 if repeated testing is of interest. | Not assessed. |
|  | Secondary Aims 1) To obtain information about the costs of biomarker testing and treatment and the cost per life saved or per quality-adjusted life year. | Not assessed. |
|  | 2) To evaluate compliance with testing and work-up in a diverse range of settings | Not assessed. |
|  | 3) To compare different biomarker testing protocols and/or to compare different approaches to treating test positive subjects in regard to effects on mortality and costs. | Not assessed. |

Abbreviations:

ADNI			-	Alzheimer’s Disease Neuroimaging Initiative

EADC			-	European Alzheimer’s Disease Consortium

EDSD			-	European DTI Study on Dementia

CENTILOID	-	proposed unit of measure on a unified scale for amyloid-β PET tracers

Nest-DD		-	Network for Efficiency and Standardisation of Dementia Diagnosis

Panel 2: Non-medical factors that likely influence the use of an imaging technique in clinical applications

| Factor | Comment |
| --- | --- |
| Economic factors |  |
| Costs | High costs for new innovations, such as combined PET/MRI or 7T MRI scanners, limit their broad application unless a distinct medical and/or economic advantage justifies usage in at least one clinical indication. |
| Reimbursement | Reimbursement is related to potential cost savings through early diagnosis and/or early initiation of effective treatments. For instance, the perceived lack of disease-modifying treatments for AD limits the willingness of health care insurance to reimburse costs of novel PET tracers. |
| Societal factors |  |
| Availability | Availability of PET and MRI scanners varies greatly between countries (http://stats.oecd.org/index.aspx?DataSetCode=HEALTH_STAT), and depends among others on economic resources of a health care system, and the relevance of a particular technique for applications outside of dementia (such as cancer for PET). |
| Regulatory requirements |  |
| Certification and standardization | Many brain imaging techniques are highly standardized. This allows direct comparison of results obtained by different imaging systems. This requires large normative datasets to establish reference standards and appropriate cutoffs of normality |
| Physician’s attitude |  |
| Education | With the increased use of brain imaging as AD biomarker, education is a major challenge to the imaging community which needs to be addressed with educational programs and recommendations for the correct use of imaging markers. |
| Personal bias | Cultural background (e.g. attitude towards radiation exposure or CSF sampling), perception of treatment efficacy, local tradition, and remuneration are important co-factors beyond a latent factor of personal attitude. |
| Patient/Caregiver’s attitude |  |
| Safety, patient/caregiver burden, radiation exposure | Safety, patient burden and caregiver concerns on cumulative radiation dose become particularly relevant with diagnosis being moved forwards in time so that the effect of early diagnosis on the well-being of an individual patient is not clear in absence of disease-modifying treatments. |
| Self-insight | Brain imaging, as a potential advantage over other AD biomarkers, allows the patients to obtain direct insight into their own body, by that simplifying disease understanding and therapy/care planning. |

Figure legend

Figure 1: Cortical amyloid accumulation as evidenced by 18F-Florbetaben-PET

Representative amyloid PET images of an AD patient and a healthy control as obtained by the 18F-labeled tracer florbetaben. Unspecific white matter binding in case of the healthy control, which spreads to the neocortical grey matter in the AD patient as a sign of cortical beta-amyloid load.

Figure 2: Cortical hypometabolism as evidenced by 18FDG-PET

Three-dimensional surface projections (3DSSP’s) of typical FDG-PET findings in a patient with AD. Top row: Glucose metabolism, color-coded: yellow/red= high metabolism, green = hypometabolism, detected in bilateral temporoparietal and frontal cortex and in the posterior cingulate cortex (mesial aspects). Bottom row: Statistical comparison of the patient’s PET-scan with a healthy control population. Significant deviations (Z-scores) are displayed (green/yellow = high deviation, black/blue = no/low deviation).

Figure 3: Hippocampus atrophy as evidenced by high-resolution structural MRI scans

The figure shows coronal sections of high-resolution structural MRI scans depicting the head of the hippocampus (labeled in red) in an AD patient (left) and a healthy elderly control (right). Severe atrophy of the hippocampus in the AD patient is evident by visual comparison to the healthy control subject.

Figure 4: Reduced functional connectivity as evidenced by resting-state functional MRI

The figure illustrates functional connectivity profiles of a seed region in the posterior cingulate cortex (yellow star) as evidenced by resting-state fMRI in a healthy elderly subject (top) and an AD patient (bottom). Functional connectivity strength is defined as the degree of correlation between resting activity fluctuations in spatially segregated brain regions and is depicted as color-coded regression coefficients in each voxel of the brain’s grey matter. In the healthy subject resting activity in the posterior cingulate seed region is correlated with activity in inferior parietal and medial frontal regions, together representing the so-called default mode network. In the AD patient the long-range functional connectivity of the posterior cingulate seed region is drastically reduced, particularly with respect to the medial frontal cortex. Note that resting-state fMRI data was spatially normalized for functional connectivity analysis and functional connectivity profiles are projected onto a sagittal and an axial section of a standard space template.

Figure 5. Reduced fiber tract integrity as evidenced by diffusion tensor imaging

The figure shows DTI-derived fractional anisotropy (FA) maps for a healthy elderly subject (top) and an AD patient (bottom) overlaid on corresponding structural MRI scans. Fractional anisotropy is an index of the directionality of water diffusion, being characterized by small values in regions of undirected water diffusion, such as in the brain’s grey matter and CSF spaces, and high values in white matter fiber tracts where water diffusion preferentially follows the orientation of the axonal bundles. Microstructural damage to fiber tracts results in decreased FA values. In Alzheimer’s disease reductions in FA are typically most pronounced in limbic fiber tracts, such as the fornix (red arrow in sagittal sections) and fiber tracts traversing the temporal lobe (red box on coronal sections).

Figure 6: Multimodal signature of Alzheimer’s disease

Illustration of typical regional patterns of increased amyloid accumulation (row 1), cortical metabolic decline (row 2), grey matter atrophy (row 3), decline of white matter microstructural integrity (row 4), and decline of cortical functional connectivity (row 5), in early clinical stages of AD. The multimodal imaging analysis uses converging effects from several imaging modalities to test the pathogenetic model of AD disease progression in vivo. The regions of significant amyloid accumulation in amyloid-PET, for instance, overlap only partly with brain regions showing metabolic decline or regional atrophy, pointing to a specific sequence of pathogenetic events over the course of preclinical and prodromal AD. From a clinical perspective, the complementary effects of multiple imaging modalities may usefully be employed to obtain more accurate predictions of cognitive decline than is possible through single modality imaging or clinical diagnosis alone.

Please note that these figures are scaled for illustration purposes, and do not necessarily reflect actual statistical maps