The Effect of Anaemia and Abnormalities of Red Blood Cell Indices on HbA1c Analysis: A Systematic Review

Emma English1*, Iskandar Idris1, Georgina Smith1, Ketan Dhatariya2, Eric Kilpatrick3, W. Garry John4.

Affiliations:

1School of Medicine, University of Nottingham, Royal Derby Hospital, DE22 3DT, UK

2Elsie Bertram Diabetes Centre, Norfolk and Norwich University Hospitals NHS Foundation Trust, Colney Lane, Norwich, NR4 7UY, UK

3Department of Clinical Biochemistry, Hull Royal Infirmary, Anlaby Road, Hull HU3 2JZ, UK

4Department of Clinical Biochemistry, Norfolk and Norwich University Hospitals NHS Foundation Trust, Colney Lane, Norwich, NR4 7UY, UK

*Corresponding Author:

Emma English

School of Medicine

University of Nottingham

Royal Derby Hospital

DE22 3DT

Tel: +44 1332 724620

Email: emma.english@nottingham.ac.uk

Word counts: 250 (Abstract), 3943 (Main text and figure legends)

Keywords: Anaemia, HbA1c, Iron deficiency, Diabetes

Abbreviations: Cumulative Index to Nursing & Allied Health Literature (CINAHL), Glycated haemoglobin (GHb), International Diabetes Federation (IDF), International Federation for Clinical Chemistry and Laboratory Medicine (IFCC), iron deficiency anaemia (IDA), mean corpuscular haemoglobin (MCH), mean corpuscular haemoglobin concentration (MCHC), mean corpuscular volume (MCV), red cell distribution width (RDW), Scottish Intercollegiate Guidelines Network (SIGN) transferrin saturation (TSAT).

Abstract

Aims/Hypothesis The use of HbA1c for the diagnosis of diabetes is now widely advocated despite caveats to its use. Anaemia is cited as a major confounder to this use however, the effect of red blood cell indices and to what degree anaemia influences HbA1c levels is not known.

Methods A systematic electronic database search of MEDLINE, Embase, Cinhal and the Cochrane library was conducted for relevant articles published between January 1990 and May 2014. Included studies had at least one measurement of HbA1c and glucose and a least one index of haematinic deficiency, involving non-pregnant adults, not known to have diabetes.

Results A total of 12 articles from 544 were included. The majority of studies focused on iron deficiency anaemia and, in general, demonstrated that the presence of iron deficiency with or without anaemia led to an increase in HbA1c values compared to controls, with no concomitant rise in glucose indices. Data on the effects of other indices of red blood cell abnormalities on HbA1c are limited but show possible decrease in HbA1c values with non-iron deficiency forms of anaemia.

Conclusion HbA1c is likely to be affected by iron deficiency and iron deficiency anaemia with a spurious increase in HbA1c values, conversely non-iron deficiency anaemia may lead to a decreased HbA1c value. This may lead to confusion when diagnosing diabetes with HbA1c. This review clearly identifies the need for more evidence, especially in identifying the types and degrees of anaemia likely to have significant impact on the reliability of HbA1c.

Introduction

The traditional role of HbA1c analysis has been for assessing glycaemic control in patients with diabetes. The results of seminal studies [1, 2] demonstrated that early, intensive glycaemic control could significantly reduce the risk of a range of diabetes related complications, and permitted the establishment of precise HbA1c target values for treatment goals [3].

More recently there has been a move towards the use of HbA1c for the diagnosis of type 2 diabetes. The WHO and the ADA have both advocated the use of HbA1c for diagnosing type 2 diabetes, at a value of 6.5% (48mmol/mol) [4, 5].

Further to the recommendations of the WHO, the UK issued an expert position statement on the application of these recommendations in clinical practice in the UK [6]. One key factor thought to be a confounder in the use of HbA1c is an altered red cell lifespan, in particular due to anaemia. The WHO define anaemia in adults as 120g/l Hb in non-pregnant women and 130g/l in men [7]. It is widely purported that haemolytic anaemia can lead to decreased HbA1c values due to reduced red cell lifespan and iron deficiency anaemia (IDA) may result in increased HbA1c values due to an elongation of the red cell lifespan. However, it is not known to what degree alterations in red cell indices affect HbA1c values especially around the diagnostic cut point of 6.5% (48mmol/mol) or the degree of abnormality severity required to result in a significant change. With approximately 29% of non-pregnant women worldwide having anaemia in 2011 [8] this translates to a significant number of people where the use of HbA1c for diagnosis of diabetes may be precluded.

Since the publication of the recommendations there has been a demand for clarity on this topic. The key questions being asked are ‘At what level of anaemia should I not use HbA1c for diagnosis?’ and ‘Should I routinely screen patients for anaemia when using HbA1c for diagnosis? and if so, what test should I use?’.

This systematic review aims to address the above questions by assessing the available evidence on the impact of abnormalities of red cell indices and anaemia, on HbA1c levels around the diagnostic cut off point of 6.5% (48mmol/mol).

Methods

This systematic review is registered on Prospero – registration number CRD42013005251.

Study Identification

An electronic database search for relevant articles published between January 1990 and May 2014 was conducted using the following databases: Medline, Embase, CINAHL and The Cochrane Library.

The search was carried out using a combination of keywords and MESH terms or EMtree terms depending on the particular database see ESM Appendix 1 for full details.

In general the search strategy consisted of:

- HbA1c/glycated haemoglobin

- Iron deficiency

- Folate, B12 deficiency

- Anaemia

Study selection

Results from all searches were combined and duplicates were removed. Two investigators (EE and GS) evaluated the title and abstract of each reference identified by the search. Inclusion criteria are fully detailed in Table 1; for inclusion all studies required at least one HbA1c value with FPG or OGTT values and red cell and/or iron indices measured. This was to ensure that any changes in HbA1c value were due to changes in the red cells and not due to changes in glycaemia. Any that were clearly irrelevant were removed and the full texts of remaining articles were retrieved. Upon further scrutiny of the full texts, those that did not meet the inclusion criteria were subsequently excluded. The reference lists of included articles were reviewed in order to identify any further articles of relevance to the subject area, and that met the inclusion criteria.

Data extraction

Two investigators extracted the results from each article using a data extraction form based on the pre-defined study inclusion criteria (Table 1). Any disagreement regarding study selection was resolved by means of consensus, involving a third investigator, according to a-priori agreed criteria. The main categories extracted included; author, year, title, study overview, patient characteristics, definition of diabetes, definition of anaemia and key conclusions as detailed in Table 2.

Quality assessment of included articles

The methodological quality of each study was independently rated by two investigators (EE and GS) (who were not blinded to author, journal or institution) according to the Scottish Intercollegiate Guidelines Network (SIGN) criteria [9]. Quality assessment was not used as an exclusion criterion, though articles conducted to high standards in minimising the risk of confounding were noted, (ESM Table 1).

Data analysis

Variation within study designs, and heterogeneity of results, meant that the data was unsuitable for meta-analysis. Instead, the existing analyses described in the included articles were extracted and reported in a systematic format; as a narrative synthesis of the main outcomes and results of each study. In line with current recommendations [10, 11] the HbA1c units in the main text have been converted to SI units using the master equation.

Results

The electronic database searches identified 451 potentially relevant, unique articles. Titles/abstracts of the 451 articles were reviewed and 408 were excluded based on evaluation of the title and/or abstract. The remaining 43 full text articles were reviewed, 31 were excluded upon further reading. The residual 12 were approved and quality assessed using the SIGN criteria. The main reasons for exclusion were irrelevant or incomplete data when compared to the inclusion criteria. No additional articles were identified through review of the reference lists (see Figure 1 for flow chart).

Narrative analysis of included studies (as detailed in Table 2)

Cross-sectional studies in patients with and without diabetes

Kim et al [12] investigated the influence of iron deficiency on HbA1c distribution amongst adults, who were not known to have diabetes, over 7 years of the NHANES. Of the 6,666 female participants, 13.7% had iron deficiency and 30% of these had IDA. A much lower proportion of males (1.6%) had iron deficiency and 33% of these had IDA. When HbA1c values in women were adjusted for age and ethnicity the difference between iron-deficient and non-iron-deficient became significant (5.33 vs 5.27% (35mmol/mol vs 34mmol/mol), p=0.002). The authors found that iron deficiency in women of reproductive age was associated with a shift in HbA1c from <5.5% to 5.5-6.0% (<37mmol/mol to 37-42mmol/mol), although no association was found at higher levels, possibly due to the lower number of subjects in those groups. After adjusting for age and ethnicity the authors concluded that HbA1c was higher in iron deficient individuals and was likely to result in an upward shift of HbA1c distributions.

Ford et al [13] evaluated 1999-2002 NHANES data sets but included analysis of both IDA and non-IDA in participants both with and without diabetes. They found that non-diabetic participants with low Hb but normal iron levels had lower HbA1c values (5.16% (33mmol/mol)) than those with normal Hb and normal iron levels (5.31% (35mmol/mol), p<0.001). In contrast those with normal Hb but low iron values had borderline higher HbA1c values than normal subjects (5.39% (35mmol/mol), p=0.061). In addition, in all participants without diabetes the HbA1c values increased with increasing Hb levels ranging from a mean HbA1c of 5.18% (33mmol/mol) at Hb <100g/l through to 5.50% (37mmol/mol) with Hb >170 g/l. The authors advocate caution when interpreting HbA1c values near diagnostic cut points when Hb levels are high or low. The study was limited by low numbers of iron deficiency and/or anaemia cases and few severe cases but the authors suggest that likely impact of haemoglobin concentration on HbA1c values was an approximate change of HbA1c 0.2% (2.2 mmol/mol), between the extremes of Hb levels.

Studies comparing prevalence of diabetes and pre-diabetes diagnosed by glucose or HbA1c

Two studies [14, 15] compared the prevalence of diabetes/pre-diabetes determined by glucose based criteria and HbA1c based criteria. Hardikar et al [14] compared HbA1c and OGTT determined diabetes rates in a cohort of young adults in India. The authors found that the prevalence of diabetes or pre-diabetes was higher with HbA1c criteria than by standard OGTT (25.9% vs 10.4%). Within a subgroup of anaemic (IDA, B12 and folate deficiency) patients, the discordance was even greater with 33% classed as pre-diabetes or diabetes by HbA1c compared to 12% by OGTT.

Son et al [15] grouped 329 Korean participants, not previously known to have diabetes, by diabetes status according to OGTT results. Participants were grouped as normal, pre-diabetes or diabetes, HbA1c levels were then compared in each group for both anaemic and non-anaemic subjects. In the normoglycaemic group, HbA1c values were found to be the same in both anaemic and non-anaemic groups. In the pre-diabetes group, HbA1c values were found to be higher in the anaemic group compared to controls (p=0.05) and borderline significant in the diabetes group. The authors acknowledge that small sample sizes and a lack of definition of types of anaemia are confounding factors in their study.

Studies comparing HbA1c and glucose values in patients without diabetes, with and without IDA

One study [16] compared the HbA1c values in 50 subjects with IDA, not previously known to have diabetes, with non-anaemic healthy controls. This was a short article with limited description or discussion but essentially both fasting plasma glucose (FPG) and post prandial glucose values were not significantly different between the IDA and control groups. HbA1c values however were significantly higher in the IDA group (mean 7.6±0.5% (60±5.5mmol/mol)) compared with the control group (5.5±0.8% (37±8.7mmol/mol)) (p <0.001).

Studies evaluating the effects of treatment, to resolve anaemia, on HbA1c

Four studies [17-20] evaluated HbA1c levels in non-diabetic patients, pre and post treatment for anaemia. Each study included patients treated with oral iron replacement therapy, three studies [17-19] reported a significant fall in HbA1c values after treatment with iron replacement over periods of 9-20 weeks.

Coban et al [17] saw a fall from an HbA1c of 7.2±0.8% (55±8.7mmol/mol) pre-treatment to 6.2±0.6% (44±6.6mmol/mol) post 3 months treatment but this was still not as low as the non-anaemic control group 5.2±0.2% (33±2.2mmol/mol)), however the iron indices had not fully normalised compared to controls at that point in time either. The same pattern was demonstrated by El-Agouza et al [18] where patients were followed for 20 weeks and HbA1c fell steadily over that period from 6.15±0.62% to 5.25±0.45% (44±6.8mmol/mol to 34±4.9mmol/mol). However, there were no control subjects included for comparison and it would be of interest to know the point at which HbA1c values plateaued post treatment. Similarly, a small study (n=10), [19] showed a significant decline (p<0.01) in HbA1c values by 3 weeks of treatment and the values remained below baseline values after nine weeks, despite an upward rebound.

Interestingly a study by Sinha et al [20] showed the converse pattern of results in 50 patients with moderate to severe IDA (mean±SD Hb, 62±1g/l). The mean HbA1c was significantly lower in the anaemic group compared with the non-anaemic controls (4.6±0.6% vs 5.5±0.6%; 27±6.6mmol/mol vs 37±6.6mmol/mol). After 2 months treatment for IDA the HbA1c values were significantly higher than the controls raising the question of whether severe iron deficiency has the same effect on glycation as more mild anaemia.

Studies investigating the effect of menstruation on HbA1c levels

Three studies [21-23] investigated the impact of the pre-menopausal state on HbA1c values. Behan [21] compared Hb values in non-diabetic, non-anaemic pre-menopausal women with post-menopausal Caucasian women. The study found that Hb levels were significantly lower in pre-menopausal women, despite no reported history of anaemia. HbA1c values were not significantly different between the two groups but the correlation between HbA1c and FPG was weaker in the pre-menopausal group. The author suggests that the varying effects of menstruation on iron metabolism could lead to less reliable HbA1c and FPG correlations.

Koga [22, 23] and colleagues also looked at the effect of the menopause on HbA1c values. The initial study identified a significant difference in HbA1c levels between pre- and post-menopausal women (4.9±0.2% vs 5.1±0.3% (30±2.2mmol/mol vs 32±2.2mmol/mol) p<0.0001). In pre-menopausal women, MCH and MCV were inversely correlated with HbA1c but this association was not significant in post-menopausal women. The authors suggest that every 1pg decrease in MCH correlated with a 0.03% (0.3mmol/mol) increase in HbA1c value and that erythrocyte indices influence HbA1c values in pre-menopausal women in the absence of overt anaemia. Koga et al [23] also looked at the effect of iron deficiency and IDA compared to iron sufficiency on HbA1c and glycated albumin values in pre-menopausal women. Iron deficiency and IDA were both associated with a significant increase in HbA1c levels with iron metabolism indices being significantly negatively associated with HbA1c. This association was not present in glycated albumin levels across the three iron status groups, essentially indicating that iron metabolism rather than glycaemic changes influence changes in HbA1c in pre-menopausal women.

Studies evaluating red cell indices and markers of iron status

All studies were reviewed for data on red cell indices and markers of iron status as these provide further insight into which adjunct tests may support the use of HbA1c for diagnosis. Data extracted is detailed in Table 3. Combinations of the following indices were measured: Hb, HCT, MCV, MCH, MCHC, Ferritin, TSAT, reticulocytes, RDW and erythrocyte protoporphyrin. Some studies only used the values to identify or exclude patients with iron deficiency or anaemia whereas others correlated changes in red cell indices with changes in HbA1c value. Of the studies that focused on IDA, three studies compared values pre and post treatment with iron replacement and two compared values in patients with anaemia against control subjects. All studies demonstrated an increase in MCV and MCH with treatment or elevated levels in controls compared to anaemia patients. Two studies [14, 22] demonstrated an inverse correlation between HbA1c and Hb, MCV and MCH levels. Overall the data indicates that iron deficiency, demonstrated by low Hb, low MCV and low MCH, is associated with increased HbA1c levels both with and without overt anaemia. In addition, normal MCV and MCH with low Hb would not be associated with increased HbA1c levels but rather a decrease in values.

Ferritin was measured in nine studies [12-14, 16-18, 20, 21, 23]. Of these, most showed an increase in ferritin levels post treatment for anaemia and also showed that ferritin levels were lower in iron deficient subjects compared to controls. Three studies [14, 16, 23] showed that ferritin was a negative predictor of HbA1c and one study [13] showed a small but significant positive correlation between HbA1c and ferritin. Generally ferritin was utilised as a marker of iron deficiency rather than analysed as an independent predictor of HbA1c values, where the latter was done the results were mixed.

Discussion

Does anaemia affect HbA1c?

Generally the studies investigating the effect of anaemia and abnormalities of red cell indices on HbA1c analysis are limited to small sample groups and two studies that both analysed the same large cross sectional population study. It is apparent that IDA can have a significant impact on HbA1c values with most studies suggesting a spuriously high HbA1c in IDA compared with other markers of glycaemia. The exception to this is the study by Sinha et al [20] which found low values of HbA1c in severe cases of IDA which increased with iron replacement therapy. The authors did not discuss why their data conflicts with other studies but it may be due to the severity of anaemia as the subjects in this study had low mean Hb levels (62g/l), the duration of anaemia was not given. Together these data to support the hypothesis that iron deficiency per se may cause elevated HbA1c values, irrespective of anaemia.

Limited data indicates that non ID anaemias also affect HbA1c values to a varying degree [13, 14, 19]. Ford et al [13] showed that in patients without diabetes, with low Hb but normal iron levels had significantly lower HbA1c values than those with normal iron and normal Hb (see Table 2). The difference between the non-iron deficiency anaemia and control values was greater than was observed between IDA and ID values and controls, suggesting that HbA1c may be spuriously elevated in iron deficiency and spuriously depressed in non-iron deficiency anaemias. Ideally any further studies would separate out iron deficiency and non-iron deficiency cases prior to analysis as there is the potential to null the data by combing the two pathologies in one evaluation.

Hardikar et al [14] investigated a population where of those with anaemia 30.8% had Vit B12 deficiency, 15% had folate deficiency and 30% had multiple nutrient deficiencies. In multivariate analysis B12 and folate were not significantly related to HbA1c levels but this may be due to the small sample size analysed. Where mixed nutrient deficiencies are observed, the combination of pathologies will lead to variable and unpredictable effects on HbA1c levels depending on the relative degree of each nutrient deficiency.

To what degree do abnormalities of red cell indices affect HbA1c values?

The two evaluations of the cross-sectional NHANES data showed that having iron deficiency or IDA increased the odds of having an HbA1c value shift upwards from <5.5% (<37mmol/mol) to 5.5-5.9% (37-41mmol/mol) [12, 13]. Hardikar et al [14] demonstrated that markers of microchromic anaemia were associated increased HbA1c values and also more patients diagnosed with prediabetes or diabetes by HbA1c compared with glucose indices. In patients with non-iron deficiency anaemia there was a marked shift downwards in apparent distribution of HbA1c results [13]. Son et al [15] demonstrated that IDA in the patients with prediabetes defined by glucose levels had a mean HbA1c of 6.4% vs 6.1% (46 vs 43mmol/mol) in controls, this is sufficient to re-categorise some patients from pre-diabetes to diabetes in the anaemic group.

Other studies which looked more specifically at HbA1c levels in patients with or without anaemia showed differences of up to 2.1% (23 mmol/mol) HbA1c increase with IDA [16] and studies measuring HbA1c pre- and post- treatment for anaemia showed changes as large as -1.2% (-13 mmol/mol) HbA1c post treatment [17].

What does this mean on a wider scale?

Recent data has shown a surge in the incidence and prevalence of young onset obesity, many of whom are pre-menopausal females, at increased risk of iron deficiency. There has been a concomitant increase in HbA1c values in these subjects considered at high risk of diabetes, due to factors such as obesity [24]. Data from England shows that the prevalence of pre-diabetes rose from 11.6% in 2003 to 35.3% in 2011 [25] and in view of the rising prevalence of obesity, we would anticipate to identify a larger proportion of patients, with higher HbA1c values. If the estimated upward shift in HbA1c values seen with iron deficiency is combined with the apparent increased prevalence of pre-diabetes, it may result in a significant number of patients where the combination of the two will be sufficient to shift HbA1c values to move from a diagnosis of pre-diabetes to diabetes.

Clinical use and relevance

One of the main questions still to answer is how to apply this information to everyday clinical practice. In addition to published guidance [4-6] we suggest the following:

- During monitoring of people with diabetes, when glucose and HbA1c are discordant, consider abnormalities of red cell indices

- When HbA1c is normal/elevated but Hb is low do not assume that HbA1c is falsely elevated, check red cell indices, in particular MCV and MCH, if low consider iron deficiency by TSAT or ferritin. If MCV and MCH are not low then consider other forms of anaemia, HbA1c may be falsely decreased in these cases

- ID as well as IDA may be sufficient to cause a change in HbA1c values, this is highly relevant in women of child bearing age

- If abnormalities of red cell indices or anaemia are identified, consider correction of the abnormality before using HbA1c for diagnosis or monitoring. The studies included in this review suggest that up to six months after treatment is initiated may be required to normalise red cell indices. RDW will provide an additional indicator of normalisation of the red cell population and red cell lifespan

Ferritin as a marker of iron status is useful if it is low but would not rule out iron deficiency if it were found to be normal or elevated as ferritin is an acute phase reactant and inflammation may mask a true low ferritin. Raj and Rajan [26] investigated 86 patients with T2DM and demonstrated that serum ferritin positively correlated with HbA1c and was increased with increasing duration of disease, indicating that poor glycaemic control can contribute to elevated ferritin levels independent of iron status. In situations of increased inflammations, alternative measures of iron status such as transferrin saturation or total iron binding capacity should be considered.

Changes in red cell lifespan even with normal haematological indices can impact on HbA1c values [27], therefore it is important to show that the red cell population is stable after treatment for abnormalities before using HbA1c. Red cell indices including RDW may assist with this.

Further research questions

Although it is clear that anaemia may influence HbA1c results, further studies to identify the roles of red cell indices as appropriate adjunct analyses to identify patients where this is an issue, are needed. Future studies should consider the effect of red cell indices rather than anaemia alone. In particular studies should aim to include sufficient subjects to differentiate between the effects of the type and severity of red cell abnormalities/anaemia on HbA1c values. This may be achieved through a combination of population based studies and intervention studies where changes in HbA1c values are assessed in relation to therapy for red cell abnormalities and anaemias.

Strengths and limitations of this study

This review is limited to a selection of small study groups and two separate analyses of the NHANEs survey data from overlapping time periods. The conclusions drawn are limited by a lack of robust evidence from a significant number of the included studies. The quality analysis of the included studies has highlighted shortfalls and confounders in most of the studies which would need to be addressed in future studies, in particular a lack of power to confer significance on many of the findings.

Notes on standardisation of HbA1c methods

International standardisation of HbA1c was achieved in 2002 [28-30]. An International HbA1c Consensus Committee was formed which agreed; HbA1c values should be reported in both SI units (mmol/mol) and converted to % units via the master equations established by the IFCC and designated comparison methods [10, 11]. All studies reported in this review either stated that they were aligned to the NGSP or did not state any performance information for the HbA1c analysis. In light of this, even if there was sufficient data for meta-analysis, it is likely that a lack of standardisation of results would be a major confounder. Any further studies should endeavour to ensure that all HbA1c measurements are performed in alignment with the IFCC and clear quality data should be provided in the reports.

Conclusion

It is clear from the limited number of studies, many with low participant numbers, that the subject of anaemia and HbA1c warrants further investigation. Generally the studies described demonstrate that abnormalities of red cell indices are a considerable confounder in the analysis of HbA1c and there is currently insufficient data to fully inform clinicians and scientists on how to address this in clinical practice. However, we have made some suggestions to facilitate its use whilst clarity is awaited.

The key questions that are still to be answered are whether or not anaemia and red cell abnormalities will have a significant impact on the diagnosis of diabetes using HbA1c in the general population, something that is now widely performed.

Acknowledgements

We would like to thank Ruth Curtis (Library Services, University of Nottingham, UK) for her help and guidance in constructing the database searches.

Funding

There were no external funding sources used in the preparation of this manuscript.

Author Statements

All of the authors listed have made a substantial contribution to the production of this article. EE, II, KD, EK and WGJ all contributed to the concept and of the work, EE, GS and II designed the data collection, EE and GS collected and analysed the data. All authors revised it critically for important intellectual content and approved the final version to be submitted/published. Emma English is the guarantor of this work.

The authors declare that there is no duality of interest associated with this manuscript.

Approval of an ethics committee was not required.

References

[1]	 (1993) The effect of intensive treatment of diabetes on the development and progression of long-term complications in insulin-dependent diabetes mellitus. The Diabetes Control and Complications Trial Research Group. N Engl J Med 329: 977-986

[2]	 (1998) Intensive blood-glucose control with sulphonylureas or insulin compared with conventional treatment and risk of complications in patients with type 2 diabetes (UKPDS 33). UK Prospective Diabetes Study (UKPDS) Group. Lancet 352: 837-853

[3]	Inzucchi SE, Bergenstal RM, Buse JB, et al. (2012) Management of hyperglycemia in type 2 diabetes: a patient-centered approach: position statement of the American Diabetes Association (ADA) and the European Association for the Study of Diabetes (EASD). Diabetes Care 35: 1364-1379

[4]	Organization WH (2011) Use of Glycated Haemoglobin (HbA1c) in the Diagnosis of Diabetes

Mellitus (abbreviated Report of a WHO Consultation).

[5]	 (2013) Standards of medical care in diabetes--2013. Diabetes Care 36 Suppl 1: S11-66

[6]	John WG (2012) Use of HbA1c in the diagnosis of diabetes mellitus in the UK. The implementation of World Health Organization guidance 2011. Diabet Med 29: 1350-1357

[7]	Organization WH (2001) Iron Deficiency Anaemia Assessment, Prevention, and Control A guide for programme managers. Available from http://www.who.int/nutrition/publications/en/ida_assessment_prevention_control.pdf

[8]	Stevens GA, Finucane MM, De-Regil LM, et al. (2013) Global, regional, and national trends in haemoglobin concentration and prevalence of total and severe anaemia in children and pregnant and non-pregnant women for 1995-2011: a systematic analysis of population-representative data. Lancet Glob Health 1: e16-25

[9]	Lowe G, Twaddle S (2005) The Scottish Intercollegiate Guidelines Network (SIGN): An update. Scot Med J 50: 51-52

[10]	 (2007) Consensus statement on the worldwide standardization of the hemoglobin A1C measurement: the American Diabetes Association, European Association for the Study of Diabetes, International Federation of Clinical Chemistry and Laboratory Medicine, and the International Diabetes Federation. Diabetes Care 30: 2399-2400

[11]	Hanas R, John G, International Hb ACC (2010) 2010 consensus statement on the worldwide standardization of the hemoglobin A1c measurement. Clin Chem 56: 1362-1364

[12]	Kim C, Bullard KM, Herman WH, Beckles GL (2010) Association between iron deficiency and A1C Levels among adults without diabetes in the National Health and Nutrition Examination Survey, 1999-2006. Diabetes Care 33: 780-785

[13]	Ford ES, Cowie CC, Li C, Handelsman Y, Bloomgarden ZT (2011) Iron-deficiency anemia, non-iron-deficiency anemia and HbA1c among adults in the US. J Diabetes 3: 67-73

[14]	Hardikar PS, Joshi SM, Bhat DS, et al. (2012) Spuriously high prevalence of prediabetes diagnosed by HbA(1c) in young indians partly explained by hematological factors and iron deficiency anemia. Diabetes Care 35: 797-802

[15]	Son JI, Rhee SY, Woo JT, et al. (2013) Hemoglobin a1c may be an inadequate diagnostic tool for diabetes mellitus in anemic subjects. Diabetes Metab J 37: 343-348

[16]	Shanthi B, Revathy C, Manjula Devi AJ, Subhashree (2013) Effect of iron deficiency on glycation of haemoglobin in nondiabetics. J Clin Diagn Res 7: 15-17

[17]	Coban E, Ozdogan M, Timuragaoglu A (2004) Effect of iron deficiency anemia on the levels of hemoglobin A1c in nondiabetic patients. Acta Haematol 112: 126-128

[18]	El-Agouza I, Abu Shahla A, Sirdah M (2002) The effect of iron deficiency anaemia on the levels of haemoglobin subtypes: possible consequences for clinical diagnosis. Clin Lab Haematol 24: 285-289

[19]	Gram-Hansen P, Eriksen J, Mourits-Andersen T, Olesen L (1990) Glycosylated haemoglobin (HbA1c) in iron- and vitamin B12 deficiency. J Intern Med 227: 133-136

[20]	Sinha N, Mishra TK, Singh T, Gupta N (2012) Effect of iron deficiency anemia on hemoglobin A1c levels. Ann Lab Med 32: 17-22

[21]	Behan KJ (2006) Cessation of menstruation improves the correlation of FPG to hemoglobin A1c in Caucasian women. Clin Lab Sci 19: 225-230

[22]	Koga M, Morita S, Saito H, Mukai M, Kasayama S (2007) Association of erythrocyte indices with glycated haemoglobin in pre-menopausal women. Diabet Med 24: 843-847

[23]	Koga M, Saito H, Mukai M, Matsumoto S, Kasayama S (2010) Influence of iron metabolism indices on glycated haemoglobin but not glycated albumin levels in premenopausal women. Acta Diabetol 47 Suppl 1: 65-69

[24]	Selvin E, Parrinello CM, Sacks DB, Coresh J (2014) Trends in prevalence and control of diabetes in the United States, 1988-1994 and 1999-2010. Ann Intern Med 160: 517-525

[25]	Mainous AG, 3rd, Tanner RJ, Baker R, Zayas CE, Harle CA (2014) Prevalence of prediabetes in England from 2003 to 2011: population-based, cross-sectional study. BMJ Open 4: e005002

[26]	Raj S, Rajan GV (2013) Correlation between elevated serum ferritin and HbA1c in type 2 diabetes mellitus. Int J Res Med Sci 1: 12-15

[27]	Cohen RM, Franco RS, Khera PK, et al. (2008) Red cell life span heterogeneity in hematologically normal people is sufficient to alter HbA1c. Blood 112: 4284-4291

[28]	Hoelzel W, Weykamp C, Jeppsson JO, et al. (2004) IFCC reference system for measurement of hemoglobin A1c in human blood and the national standardization schemes in the United States, Japan, and Sweden: a method-comparison study. Clin Chem 50: 166-174

[29]	Jeppsson JO, Kobold U, Barr J, et al. (2002) Approved IFCC reference method for the measurement of HbA(1c) in human blood. Clinical Chemistry and Laboratory Medicine 40: 78-89

[30]	Weykamp C, John WG, Mosca A, et al. (2008) The IFCC Reference Measurement System for HbA1c: a 6-year progress report. Clin Chem 54: 240-248

| Inclusion Criteria | Description |
| --- | --- |
| Population | All non-pregnant adults (≥18 years), without known diabetes (HbA1c should not be used for diagnosis of diabetes in children or pregnancy). Participants should have at least one measurement of HbA1c and measure of glucose, as well as at least one index of anaemia or haematinic deficiency. A range of definitions of anaemia were used in the studies detailed in this review, with some basing the diagnosis on Hb levels and others refining this further based on indices such as MCV, MCH, ferritin and transferrin saturation levels. |
| Intervention | The use of HbA1c for the diagnosis of diabetes or comparison of HbA1c in subjects with and without anaemia or other abnormalities of red cell indices |
| Comparisons | HbA1c values ideally will be compared with fasting plasma glucose or oral glucose tolerance tests and values compared between participants with and without anaemia or red cell indice abnormalities. Whilst some studies may include glucose values others only report that all participants had values below a set point. |
| Outcomes | Changes in HbA1c values, compared to glucose indices, with decreased haemoglobin concentration. Changes in HbA1c, compared to glucose indices, with other red blood cell indices. |
| Study Design | Cohort studies evaluating the association between HbA1c levels and anaemia or other red cell indices with or without anaemia were included. Case report, case control, case series studies, letters and commentaries were excluded. |
| Search Limits | Adults (aged ≥ 18 years), English language, humans, publication Year 1990-Current. HbA1c was not widely used in routine clinical practice and methods showed very high inter and intra-laboratory variation prior to 1990. Identification of grey literature including unpublished data, conference reports and presentations was not attempted. |

Table 1: Inclusion criteria for the systematic review

Table 2: Data extraction form and key data from included studies

| Author, Year and Title | n (males) | Study | Inclusion/ exclusion | Diabetes, anaemia or red cell indices | Mean Hb | Mean HbA1c | Other key findings | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Behan, 2006 Cessation of Menstruation Improves the correlation of FPG to Hemoglobin A1c in Caucasian Women | 169 (0) | Comparison of HbA1c in premenopausal (n=100) and postmenopausal (n=69) women without diabetes. The authors correlate HbA1c to FPG in both groups. They also introduce absolute A1c, the product of total Hb *HbA1c and test its correlation to FPG in both groups. | Participants were excluded if they were outside of the age range (40-54), obese (≥30), had diabetes, had anaemia or if they took medication to lower cholesterol. Non-Caucasian participants were also excluded. | Diabetes determined by - Known diabetes or FPG ≥126 mg/dl (7.0mmol/L) | Premenopausal 136 g/l Postmenopausal 139 g/l p = 0.009 | Premenopausal 5.4% (36 mmol/mol) Postmenopausal 5.4% (36 mmol/mol) p= 0.081 | FPG showed a weak correlation to HbA1c value overall r =0.251 (p=0.001) which was higher in postmenopausal women indicating there is haemodynamic variability that renders HbA1c values less reliable in terms of representing past glycaemia in pre-menopausal women. | This study suggests that menstruation during middle age can have a significant effect on the accuracy of HbA1c analysis and that effect is nullified after cessation of menstruation. This is a significant finding because half of the women who develop type 2 diabetes do so during the peri-menopause. The authors suggest the use of absolute A1c in order to account for haematinic variation. |
| Coban et al, 2004 Effect of Iron Deficiency Anaemia on the levels of Haemoglobin A1c on Non-diabetic Patients | 100(40) | This study consists of 50 patients with IDA and 50 healthy, age, sex match controls. Hb, Hct, MCV, MCH, Ferritin, serum fasting and postprandial glucose and HbA1c levels measured. Patients with IDA were treated with oral ferrous sulphate 100mg a day for 3 months | Patients with diabetes and impaired glucose tolerance were excluded along with patients who had haemoglobinopathies, haemolytic anaemia, chronic alcohol ingestion and chronic renal failure. | IDA determined by: Low ferritin levels (<9ng/ml for women and <15ng/ml for men) associated with microcytic hypochromic anaemia. | Pre-treatment 108 ± 12 g/l Post –treatment 127 ± 9.6 g/l Controls 136 ± 9 g/l | Pre-treatment 7.4 ± 0.8 % (57± 8.7mmol/mol) Post –treatment 6.2±0.6 % (44±6.6 mmol/mol) Controls 5.2±0.2 % (33±2.2 mmol/mol) | In patients with IDA HbA1c decreased significantly after iron treatment (p<0.001) No significant difference across the three groups in FPG or post prandial glucose. | This study suggests correcting iron deficiency before making and diagnostic or therapeutic decision based on HbA1c. |
| El-Agouza et al, 2002 The effect of iron deficiency anaemia on the levels of haemoglobin subtypes: possible consequences for clinical diagnosis | 81 (Not known) | 81 University students identified with microcytic, hypochromic anaemia of which 47 were iron deficient, 26 were β-thalassemia carriers and 4 had both conditions. The participants with anaemia were treated with oral ferrous sulphate (325 mg/day) for 20 weeks and repeat analyses performed | Serum glucose was used to exclude participants with diabetes, however these samples may have had a delayed separation of up to two hours. | IDA determined as: microcytic (<80 fl), hypochromic (<26 pg) and low ferritin (undefined) | Pre treatment 109.6 ± 11.2 g/l Post 20 weeks treatment 132± 6.5 g/l p <0.001 | Pre treatment 6.15±0.62 % (44±6.8 mmol/mol) Post 20 weeks treatment 5.25±0.45 % (34±4.9 mmol/mol) p <0.001 | HbA2 % Pre treatment 1.89±0.45 % Post 20 weeks treatment: 2.19±0.53 % p <0.001 HbF % Pre treatment: 0.94±0.18 % Post 20 weeks treatment: 0.95±0.17 % p >0.05 | 7% of University students in Gaza had iron deficiency. HbA1c falls significantly with iron replacement therapy but results did not plateau at 20 weeks. The authors also demonstrate an increase in HbA2 post treatment indicating that diagnoses of β-thalassemia carriers may be missed in iron deficient anaemia. |
| Ford et al, 2011 Iron-deficiency anemia, non-iron-deficiency and HbA1c among Adults in the US | 8296 (not known) | Data from the NHANES 1999-2002. HbA1c and complete blood count were used to examine whether there was an association between anaemia and HbA1c and whether associations between concentrations of glucose and HbA1c differed according to Hb and Iron status. | Limited to men and non-pregnant women aged ≥20 years old. | IDA determined by- Low Hb (<120g/l in women aged 20-69, <118g/l in women aged ≥70, <137g/l in men aged 20-49, <133g/l in men aged 50-69 and <124g/l in men ≥70) and two or more abnormalities: low TSAT (<15%), low serum ferritin (<26.96 pmol/l) and elevated erythrocyte protoporpyrin (>1.24µmol/l). | Prevalence of Anaemia in total cohort: IDA 2.3±0.2% Non-IDA 3.2% ±0.3% Normal Hb but iron deficient 4.4±0.3% Normal Hb and normal iron 90.1±0.4% | Total population mean HbA1c 5.28% (34mmol/mol) with Hb <100 g/l to 5.72% (39mmol/mol) with Hb>170 g/l The adjusted mean concentration of HbA1c were 5.56% (37 mmol/mol) and 5.46% (36 mmol/mol) among participants with and without iron deficiency, (p=0.095) | Low Hb but normal iron vs normal Hb and normal iron had significantly lower HbA1c (p = 0.001) Normal Hb but low iron vs normal Hb and normal iron had borderline higher HbA1c (p =0.061) Greatest effect seen in HbA1c <5.0% (<31mmol/mol) group also highest number of low Hb normal iron seen in this group. | Hb concentration appears to be positively correlated to HbA1c value. HbA1c appears higher in patients with iron deficiency and similar to values in patients with normal iron and normal Hb The authors suggest caution should be taken when diagnosing diabetes and pre-diabetes in people with a high or low Hb when the HbA1c level is close to the 6.5% (48mmol/mol) or 5.7% (39 mmol/mol) cut off. |
| Gram-Hansen et al, 1990 Glycosylated haemoglobin (HbA1c) in iron- and vitamin B12 Deficiency | 30 (not known) | Ten patients with IDA, 10 patients with vitamin B12 deficiency anaemia and ten healthy controls were studied. HbA1c, Hb and erthyrocyte parameters were measured at 0, 3, 6 and 9 weeks after initiation of treatment. Effect of iron and B12 therapy on HbA1c over 9 weeks was assessed. | All non-diabetic | No parameters given for diabetes, IDA or vitamin B12 deficiency. Haematinic data for controls also not presented. | Median Hb IDA pre-treatment 5.1 mmol/l B12A pre-treatment 6.1 mmol/l Controls Not presented assumed within quoted ref range of 7.5-10.4 mmol/l IDA at 3 weeks 7.2 mmol/l B12 at 3 weeks 8.3 mmol/l IDA at 9 weeks B12A at 9 weeks Values not presented. | Median HbA1c IDA pre-treatment 4.9% B12A pre-treatment 5.1% Controls 5.0% IDA at 9 weeks 4.6% B12A at 9 weeks 4.8% | There was no initial significant difference between the IDA group 4.9% (30mmol/mol) and vitamin B12 deficiency group 5.1% (32mmol/mol) (p<0.4). After 3 weeks therapy HbA1c in IDA 4.3% (23mmol/mol) and Vitamin B12 deficiency anaemia 4.4% (25mmol/mol) decreased significantly (p<0.01). Significance not stated at 9 weeks | The authors conclude that, in patients with iron and vitamin B12 deficiency, HbA1c is an important marker of the changes in the erythrocyte population that occur when therapy is initiated. This paper is widely cited by other articles on the subject of anaemia and HbA1c measurement. |
| Hardikar et al, 2012 Spuriously High Prevalence of Pre- diabetes Diagnosed by HbA1c in Young Indians Partly Explained by Hematological Factors and Iron Deficiency Anemia | 243 (136) | This study included young adults from the Pune Children’s study cohort in India. The authors investigated the diagnostic performance of HbA1c against a standard OGTT, and looked at the haematological, nutritional and other factors influencing HbA1c concentration. | Known DM excluded. The cohort is divided into two groups, those with simultaneous HbA1c and OGTT values and those with HbA1c values obtained within 18 months of the OGTT. The latter group were not used in the statistical modelling presented. | Diabetes determined by- OGTT WHO criteria HbA1c ADA criteria; pre-diabetes 5.7-6.4% (39-46mmol/mol); diabetes ≥6.5% (≥48mmol/mol) Anaemia determined by- Hb <120g/l in females and <130g/l in males. | Mean Hb 130±20 g/l Prevalence of Anaemia: Approx. one third had anaemia, 43.6% had microcytosis, 2.5% had macrocytosis. 66.7% were iron deficient, 30.8% were B12 deficient and 15.4% were folate deficient. | Mean HbA1c 5.4% (36 mmol/mol) range 4.4-6.7% (25-50 mmol/mol) | The OGTT showed that 7.8% of participants were pre-diabetic and 2.6% were diabetic. The HbA1c values showed that 23.3% were pre-diabetic and 2.6% were diabetic. This increased to 33% having diabetes or pre-diabetes in the anaemic group | There was higher prevalence of iron deficiency in the participants classified by HbA1c as pre-diabetic or diabetic. Serum ferritin concentrations were significantly lower in pre-diabetes and diabetes compared to the normal group. The authors suggest that diagnosing diabetes and pre-diabetes in iron-deficient populations may lead to spuriously high HbA1c concentrations and potential for increased mis-diagnosis of diabetes |
| Kim et al, 2010 Association Between Iron Deficiency and A1c Levels Among Adults Without Diabetes in the National Health and Nutrition Examination Survey, 1990-2006 | 10535 (3869) | Data from the NHANES 1999-2006 surveys. The distribution of HbA1c values were examined a cut point of <5.5 vs. ≥5.5% (<37 vs. ≤37 mmol/mol) and because of the recommended cut point of <6.5 vs. ≤6.5% (<48 vs ≥48mmolmol). This study looks at the influence of iron deficiency on HbA1c distribution among adults without diabetes. | Excluded known diabetes, chronic kidney disease and pregnant women. | Iron deficiency determined by- at least two abnormalities including free erythrocyte protoporphyrin >70µg/dl erythrocytes, TSAT <16%, or serum ferritin ≤15µg/l. IDA determined by- as above with Hb <135g/l in men and <120g/l in women | Mean Hb data not provided. Prevalence data: 13.7% (n=1150) women had iron deficiency of these 30% had anaemia (n=345). 1.6% (n=75) men had iron deficiency of these 33% had anaemia (n=33) 2.3% (n=127) women and 3.3% (n=125) men had anaemia but not iron deficiency | The mean HbA1c in women with iron deficiency was 5.31±0.02% (35±0.2 mmol/mol) and without iron deficiency 5.27±0.01% (34±0.1 mmol/mol) (p=0.127) The mean HbA1c in men with iron deficiency was 5.43±0.06% (36±0.7 mmol/mol) and without iron deficiency 5.29±0.02% (34±0.2 mmol/mol) (p=0.035) | Although in women the mean HbA1c did no differ between the iron deficient and iron sufficient there was an upward shift in distribution of HbA1c from ≤5.4% to 5.5-6.0% (≤36 to 37-42 mmol/mol) 316 women had iron deficiency and A1c ≥5.5% (37mmol/mol) and 32 had IDA and A1c ≥6.5% (≥48 mmol/mol) . 13 men had iron deficiency A1c ≥5.5% (37mmol/mol) and only 12 had IDA and A1c ≥6.5% (≥48 mmol/mol). | The authors concluded that iron deficiency was common among women; this iron deficiency was not necessarily accompanied by anaemia. Iron deficiency in the female cohort lead to a re-distribution of HbA1c values. The shift in levels at the higher end of HbA1c (6.0-6.5%) (42-48 mmol/mol) was not significant but only small number of participants had higher values of HbA1c (n=13) |
| Koga et al, 2007 Association of erythrocyte indices with glycated haemoglobin in pre-menopausal Women | 423 (0) | HbA1c, RBC count, Hct, Hb, MCV and MCH in 423 women with normal glucose tolerance were taken. 180 of the patients were pre-menopausal and the other 243 were post-menopausal. They examined the relationship between HbA1c and erythrocyte indices in pre and post-menopausal subjects. | Inclusion criteria: 41-60 years of age, no diabetes, impaired glucose tolerance or impaired fasting glucose, no history of treatment for diabetes, no history of hysterectomy and for post-menopausal women age at menopause, never having used oestrogen or progestins, or having undergone treatment for anaemia. | Anaemia determined by – Hb <114g/l Impaired glucose metabolism and diabetes diagnosed using OGTT and WHO criteria | Hb in pre-menopausal women: 126 g/l vs post-menopausal: 130 g/l (p <0.0001) | FPG in pre- vs post-menopausal women: 5.1±0.3 mmol/L and 5.3±0.3 mmol/L (p <0.0001) HbA1c in pre- vs post-menopausal women: 4.9±0.2 % (30±2.2 mmol/mol) and 5.1±0.3 % (32±3.3 mmol/mol) (p <0.0001) | RCB counts (4.30±0.30x106/µl) of the pre-menopausal women were positively associated with HbA1c (4.9±0.2%; 30±2.2 mmol/mol), whereas Hb (126±12g/l), MVC (89.9±6.1fl) and MCH (29.4±2.7pg/cell) showed negative association. In contrast, no significant association of any indices with hbA1c (5.1±0.3%; 32±3.3 mmol/mol) was detected in the post-menopausal women. | The authors concluded that erythrocyte indices are associated with HbA1c, independently of plasma glucose levels, in pre-menopausal women even when they are not anaemic. The authors highlight that MCH and MCV are early indicators of iron deficiency and may change prior to a fall in Hb levels. They recommend this be considered when interpreting HbA1c in pre-menopausal patients with diabetes. |
| Koga et al, 2010 Influence of iron metabolism indices on glycated haemoglobin but not glycated albumin Levels in pre-menopausal women | 104(0) | Hypothesis: an iron deficient state (IDS) due to menstruation may influence erythrocyte metabolism and thereby HbA1c in pre-menopausal women. The study included 57 subjects with normal iron state (NIS), 30 with IDS and 17 with IDA. Measurements of FPG, RBC count, Hb, HCT MCV, serum iron, STAT and serum ferritin were included. | Inclusion criteria: <50 years of age, having regular menstruation, FPG <5.6 mmol/l, no history of hysterectomy and no iron supplementation for treatment of anaemia. | IDA determined by Hb <114g/l and serum ferritin <15ng/ml IDS determined by Hb ≥114g/l and serum ferritin <15ng/ml NIS determined by Hb ≥114g/l and serum ferritin ≥15ng/ml | NIS Hb: 131±8 g/l IDS 124±8 g/l IDA 103±6 g/l p <0.001 for NIS vs IDS and also for IDA vs NIS and vs IDS. | NIS: 4.8±0.2 % (29±2.2 mmol/mol) IDS 5.0±0.2 % (31±2.2 mmol/mol) IDA 5.1±0.2 % (32±2.2 mmol/mol) p <0.001 for NIS vs IDA and p <0.05 for NIS vs IDS | HbA1c showed significant inverse association with serum iron, TSAT and serum ferritin. HbA1c levels in IDA and IDS were slightly but significantly higher than NIS subjects. There were no significantly different values of glycated albumin between groups. Serum ferritin (decreased) was identified as a significant risk factor for increased HbA1c | The authors concluded that iron metabolism indices influence HbA1c levels, but not serum GA levels, in pre-menopausal women. The authors state that they found no evidence of IDA causing increased lifespan of erythrocytes. |
| Shanthi et a,l 2013 Effect of Iron Deficiency on Glycation of Haemoglobin in Nondiabetics | 100 (38) | 50 non-diabetics IDA patients and 50 healthy age matched subjects. Hb, HCT MCV, MCH, ferritin, FPG and HbA1c were analysed, to determine the effects of IDA on HbA1c levels in non-diabetics. | Exclusion criteria; patients who had glucose tolerance abnormalities (impaired glucose tolerance or diabetes), haemoglobinopathies, haemolytic anaemia. Chronic alcohol ingestion and chronic renal failure | Anaemia determined by – Hb <110g/l, ferritin levels <9ng/ml for women and <15ng/ml for men and on their peripheral blood smears mostly microcytic hypochromic, which suggests IDA. | The mean Hb (106±.4 g/l) level in the patients with IDA was lower than those in the control group (134±9.6 g/l) (p<0.05) | The mean HbA1c 7.6±0.5% (60±5.5 mmol/mol) level in the patients with IDA was higher than those in the control group 5.5±0.8% (37±8.7 mmol/mol) (p<0.001) | All iron indices were lower in IDA compared to controls however FPG was not significantly different. | The authors conclude that HbA1c is not affected by blood sugar levels alone, and that iron deficiency has a substantial effect on HbA1c. The authors suggest that anaemia may lead to a shortened half-life of erythrocytes rather than elongation. They also suggest that IDA changes the quaternary structure of Hb leading to increased glycation. |
| Sinha et al, 2012 Effect of Iron Deficiency Anaemia on Hemoglobin A1c Levels | 50 (16) Controls 50 (29) | This study investigated the effects of IDA on HbA1c levels and whether treatment of IDA influenced HbA1c levels. 50 patients confirmed to have IDA were treated with iron supplements. Hb, MCH, HCT, MCV, and MCHC at baseline, at 1 month and at 2 months were analysed, the controls were only taken once. | Patients with history of acute blood loss, haemolytic anaemia, haemoglobinopathies, kidney disease, pregnancy, established diabetes, impaired FPG or impaired glucose tolerance were excluded. | Diabetes determined by - FPG >5.6 mmol/l Mild anaemia determined by – Hb 120-129g/l in males and 110-119g/l in females Moderate anaemia determined by – Hb 90-119g/l in males and 80-109g/l in females Severe anaemia determined by – Hb <90g/l in males and <80g/l in females ID determined by – predominantly microcytic indices (MCV <80fl) and hypochromic indices (MCH <26pg/cell), confirmed by low serum ferritin (<10ng/ml in females and <29ng/ml in males) | The mean Hb at baseline in anaemic patients (62±21 g/l) was significantly lower than that in the control group (134±6 g/l) (p<0.01). The mean Hb after 2 months (125±10 g/l) was significantly higher than at baseline (p <0.01). However this was still lower than controls (p <0.01) | The mean HbA1c at baseline in anaemic patients (4.6%; 27 mmol/mol) was significantly lower than that in the control group (5.5%; 37mmolmol) (p<0.05). The mean HbA1c after two months (5.9±0.6%; 41±6.6 mmol/mol) was significantly higher than at baseline (P <0.01). | A significant increase was observed in the absolute HbA1c levels at 2 months after treatment (0.29g/dl vs. 0.73g/dl, p<0.01) | This study found decreased HbA1c levels at baseline and a rise in HbA1c with iron supplementation, these results are in complete contrast to the majority of other studies. No explanation of the results was presented. |
| Son et al, 2013 Hemoglobin A1c May be an Inadequate Diagnostic Tool for Diabetes Mellitus in Anemic Subjects | 329 (111) | This study examined anaemic subjects who were drug naïve and suspected of having diabetes and compared to age, and sex match controls. Subjects underwent an OGTT and HbA1c values were simultaneously assessed. | Subjects were excluded if they were previously diagnosed with diabetes, had history of transfusionin the past 3 months, chronic renal failure, elevated bilirubin, haematologic neoplasm and acute anaemia. | Diabetes determined by – FPG ≥7.0mmol/l or ≥11.1 mmol/l, 2 hours after glucose load Pre diabetes – FPG 5.6-69 mmol/l or 2 hour glucose 7.8-11.0 mmol/l Anaemia determined by – Hb <130g/l in men and <120g/l in women | Anaemic Group Hb: 11.3±1.1 g/dL Control group 14.2±1.3 g/dL (P <0.001) | In the normo-glycaemic groups (by FPG) there was no difference in HbA1c values between anaemic and controls. In prediabetes groups HbA1c was 6.4±1.0 % (46±10.9mmol/mol) vs 6.1±0.7 % (43±7.7 mmol/mol) in anaemic vs controls (p 0.05) | The comparisons of HbA1c in anaemic and controls for 2 hour glucose levels were similar but showed borderline significance. Glucose based distributions were not significantly different between anaemic and non-anaemic groups. | Stratifying patients by HbA1c showed an increased sensitivity in anaemic group but decreased specificity. The authors suggest that a diagnosis of DM by HbA1c in anaemia may have decreased diagnostic significance but acknowledge that study numbers are small and the types of anaemia were not defined. |

Table 3: Correlations of red cell indices and markers of iron status with HbA1c

| Study | Red cell indices measured | Main observations | Conclusions | Notes |
| --- | --- | --- | --- | --- |
| Behan, 2006 | Hb, MCV and RDW | Hb significantly lower in pre-menopausal women, no difference for MCV and RDW | No conclusions drawn regarding red cell indices | Whilst Hb was lower, none of the patients had low ferritin; to rule out iron deficiency |
| Coban et al, 2004 | Hb, HCT, MCV, MCH, Ferritin | Hb, HCT, MCV, MCH and Ferritin ↓in the IDA group compared to controls. Post treatment no significant differences groups | Treatment with iron appears to normalise the red cell indices along with a reduction in HbA1c values at 3 months | Red cell indices used to demonstrate normalisation in patients with anaemia. RDW values may have assisted in assessing the heterogeneity of the red cell population |
| El-Agouza et al, 2002 | Hb, Ferritin, HCT, MCV, MCH, MCHC, RDW | Subjects had microcytic, microchromic indices –not all had ↓ ferritin levels - not all ID Post iron replacement in 51 iron deficient subjects all indices significantly increased except MCHC (small decrease) | Treatment with iron appears to normalise the red cell indices along with a reduction in HbA1c values. Red cell indices used to demonstrate normalisation of iron status. | RDW mean was significantly higher than the normal range pre-treatment and even higher post treatment showing a very mixed cell type profile – even at 20 weeks of treatment. This would indicate that red cell indices may not stabilise even at 20 weeks |
| Ford et al, 2011 | Hb, HCT, MCV, MCH, MCHC, Ferritin, TSAT | Pearson correlations: HbA1c ↑as ferritin ↑ HbA1c ↑ as MCH and MCV ↓ | Not as expected in the face of IDA - ↓Ferritin, MCH and MCV would expected with ↑HbA1c | MCV and MCH may be better markers for ID and IDA than Ferritin |
| Gram-Hansen et al, 1990 | Hb, MCV, reticulocytes | Hb ↑ and MCV ↑, HbA1c ↓with iron replacement Hb ↑, MCV ↓ and HbA1c ↓ with B12 replacement | MCV used to differentiate between IDA and non-IDA | Very limited study and duration of follow-up |
| Hardikar et al, 2012 | Hb, HCT, MCV, MCH, MCHC, Ferritn, | Hb, MCV, MCH, MCHC negatively correlated with HbA1c | Markers of microchromic anaemia were associated with increased HbA1c values in people who were normal by OGTT | MCV did not show a significant change in pre and post treatment groups, despite negative correlations to HbA1c |
| Kim et al, 2010 | Erythrocyte protoporphyrin, ferritin, TSAT | Indices measured but only used to identify IDA | None can be drawn |  |
| Koga et al, 2007 | RBC, Hb, HCT, MCH, MCV | Hb, MCH, MCV had a statistically significant negative correlation with HbA1c in pre-menopausal women only | ↓ Hb, MCH, MCV associated with ↑HbA1c, indicates ID assessed by MCH and MCV, gives ↑HbA1c with no change in glucose levels | No history of diabetes or anaemia in cohort |
| Koga et al, 2010 | Iron, ferritin, TSAT | Serum iron, TSAT and log ferritin inversely associated with HbA1c | Low iron indices associated with ↑HbA1c | MCH and HCT measured and decreased with IDA but not correlated to HbA1c |
| Shanthi et al, 2013 | Hb, HCT, MCV, MCH, Ferritin | All ↓ in IDA group, HbA1c ↑in this group | Statistical significance is unclear | Very poorly described results |
| Sinha et al, 2012 | Ferritin | ↓Hb and ↓Ferritin associated with ↓HbA1c, all increased with iron replacement therapy | HbA1c appear to correlate with Hb and Ferritin | MCV, MCH, Hb used to differentiate type of anaemia but values not reported |
| Son et al, 2013 | Hb, MCV, MCH, | Hb, MCV and MCH all ↓ in ‘anaemic’ group defined only by Hb | No correlations made to HbA1c | No differentiation between types of anaemia in the study although mean MCV and MCH suggest predominantly IDA |

Figure 1 – Flow chart of search strategy

ESM Appendix 1

1. MEDLINE; HEMOGLOBIN A, GLYCOSYLATED/;

2. MEDLINE; hba1c.ti,ab;.

3. MEDLINE; (h?emoglobin AND A1c).ti,ab;

4. MEDLINE; Glyco?h?emoglobin.ti,ab;

5. MEDLINE; (Glycosylated AND h?emoglobin).ti,ab;

6. MEDLINE; (Glycated AND h?emoglobin).ti,ab;

7. MEDLINE; 1 OR 2 OR 3 OR 4 OR 5 OR 6;

8. MEDLINE; (anaemia OR anemia).ti,ab;

9. MEDLINE; (iron AND deficiency AND an?emia).ti,ab;

10. MEDLINE; (iron AND deficiency AND without AND an?emia).ti,ab;

11. MEDLINE; (B12 AND deficiency).ti,ab;

12. MEDLINE; (Folate AND deficiency).ti,ab;

13. MEDLINE; VITAMIN B 12 DEFICIENCY/;

14. MEDLINE; FOLIC ACID DEFICIENCY/;

15. MEDLINE; ANEMIA, HEMOLYTIC/ OR ANEMIA, IRON-DEFICIENCY/;

16. MEDLINE; ANEMIA, HEMOLYTIC/;

17. MEDLINE; "normochromic normocytic anaemia".ti,ab;

18. MEDLINE; "anaemia of chronic diseases".ti,ab;

19. MEDLINE; ANEMIA, APLASTIC/;

20. MEDLINE; 8 OR 9 OR 10 OR 11 OR 12 OR 13 OR 14 OR 15 OR 16 OR 17 OR 18 OR 19;

21. MEDLINE; 7 AND 20;

22. MEDLINE; 21 [Limit to: Humans and (Age Groups All Adult 19 plus years) and (Languages English)];

23. MEDLINE; 22 [Limit to: Humans and Publication Year 1990-Current and (Age Groups All Adult 19 plus years) and (Languages English)];

24. MEDLINE; Duplicate filtered: [22 [Limit to: Humans and Publication Year 1990-Current and (Age Groups All Adult 19 plus years) and (Languages English)]];

ESM Table 1: Quality grading of articles using the SIGN criteria

| Section 1: Internal validity |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Study | Yes | No | Cant’ Say | Doesn’t Apply |
| 1.1 The study addresses an appropriate and clearly focused question. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El- Agouza 2002 | ✓ |  |  |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 | ✓ |  |  |  |
|  | Hardikar 2012 | ✓ |  |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 |  |  | ✓ |  |
|  | Sinha 2012 | ✓ |  |  |  |
|  | Son 2013 | ✓ |  |  |  |
| 1.2 The two groups being studied are selected from source populations that are comparable in all respects other than the factor under investigation. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El-Agouza 2002 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  | ✓ |  |
|  | Hardikar 2012 |  |  | ✓ |  |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 | ✓ |  |  |  |
|  | Sinha 2012 | ✓ |  |  |  |
|  | Son 2013 |  |  | ✓ |  |
| 1.3 The study indicates how many of the people asked to take part did so, in each of the groups being studied. | Behan 2006 |  | ✓ |  |  |
|  | Coban 2003 |  | ✓ |  |  |
|  | El-Agouza 2002 |  | ✓ |  |  |
|  | Ford 2011 |  | ✓ |  |  |
|  | Gram-Hansen 1990 |  | ✓ |  |  |
|  | Hardikar 2012 |  | ✓ |  |  |
|  | Kim. C 2010 |  | ✓ |  |  |
|  | Koga 2007 |  | ✓ |  |  |
|  | Koga 2010 |  | ✓ |  |  |
|  | Shanthi 2013 |  | ✓ |  |  |
|  | Sinha 2012 |  | ✓ |  |  |
|  | Son 2013 |  | ✓ |  |  |
| 1.4 The likelihood that some eligible subjects might have the outcome at the time of enrolment is assessed and taken into account in the analysis. | Behan 2006 |  |  |  | ✓ |
|  | Coban 2003 |  |  |  | ✓ |
|  | El-Agouza 2002 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  |  | ✓ |
|  | Hardikar 2012 |  |  |  | ✓ |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 |  |  |  | ✓ |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 |  |  |  | ✓ |
|  | Son 2013 |  |  |  | ✓ |
| 1.5 What percentage of individuals or clusters recruited into each arm of the study dropped out before the study was completed. | Behan 2006 |  |  |  | ✓ |
|  | Coban 2003 |  |  |  | ✓ |
|  | El-Agouza 2002 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  |  | ✓ |
|  | Hardikar 2012 |  |  |  | ✓ |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 |  |  |  | ✓ |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 |  |  |  | ✓ |
|  | Son 2013 |  |  |  | ✓ |
| 1.6 Comparison is made between full participants and those lost to follow up, by exposure status. | Behan 2006 |  |  |  | ✓ |
|  | Coban 2003 |  |  |  | ✓ |
|  | El-Agouza 2002 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  |  | ✓ |
|  | Hardikar 2012 |  |  |  | ✓ |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 |  |  |  | ✓ |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 |  |  |  | ✓ |
|  | Son 2013 |  |  |  | ✓ |
| Assessment |  |  |  |  |  |
| 1.7 The outcomes are clearly defined. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El-Agouza 2002 |  |  | ✓ |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 | ✓ |  |  |  |
|  | Hardikar 2012 | ✓ |  |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 |  | ✓ |  |  |
|  | Sinha 2012 | ✓ |  |  |  |
|  | Son 2013 |  |  | ✓ |  |
| 1.8 The assessment of outcome is made blind to exposure status. If the study is retrospective this may not be applicable. | Behan 2006 |  |  |  | ✓ |
|  | Coban 2003 |  |  |  | ✓ |
|  | El-Agouza 2002 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  |  | ✓ |
|  | Hardikar 2012 |  |  |  | ✓ |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 |  |  |  | ✓ |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 |  |  |  | ✓ |
|  | Son 2013 |  |  |  | ✓ |
| 1.9 Where blinding was not possible, there is some recognition that knowledge of exposure status could have influenced the assessment of outcome. | Behan 2006 |  |  |  | ✓ |
|  | Coban 2003 |  |  |  | ✓ |
|  | Ford 2011 |  |  |  | ✓ |
|  | Gram-Hansen 1990 |  |  |  | ✓ |
|  | Hardikar 2012 |  |  |  | ✓ |
|  | Kim. C 2010 |  |  |  | ✓ |
|  | Koga 2007 |  |  |  | ✓ |
|  | Koga 2010 |  |  |  | ✓ |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 |  |  |  | ✓ |
|  | Son 2013 |  |  |  | ✓ |
| 1.10 The method of assessment of exposure is reliable. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El-Agouza 2002 | ✓ |  |  |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 | ✓ |  |  |  |
|  | Hardikar 2012 | ✓ |  |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 | ✓ |  |  |  |
|  | Sinha 2012 |  |  | ✓ |  |
|  | Son 2013 | ✓ |  |  |  |
| 1.11 Evidence from other sources is used to demonstrate that the method of outcome assessment is valid and reliable. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El-Agouza 2002 |  |  | ✓ |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 |  |  | ✓ |  |
|  | Hardikar 2012 | ✓ |  |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 |  |  | ✓ |  |
|  | Sinha 2012 |  |  | ✓ |  |
|  | Son 2013 |  |  | ✓ |  |
| 1.12 Exposure level or prognostic factor is assessed more than once. | Behan 2006 |  | ✓ |  |  |
|  | Coban 2003 |  | ✓ |  |  |
|  | El-Agouza 2002 |  | ✓ |  |  |
|  | Ford 2011 |  |  | ✓ |  |
|  | Gram-Hansen 1990 |  |  | ✓ |  |
|  | Hardikar 2012 |  |  | ✓ |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 |  |  | ✓ |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 |  |  |  | ✓ |
|  | Sinha 2012 | ✓ |  |  |  |
|  | Son 2013 |  | ✓ |  |  |
| Confounding |  |  |  |  |  |
| 1.13 The main potential confounders are identified and taken into account in the design and analysis. | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 | ✓ |  |  |  |
|  | El-Agouza 2002 |  |  | ✓ |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 |  | ✓ |  |  |
|  | Hardikar 2012 | ✓ |  |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 | ✓ |  |  |  |
|  | Koga 2010 | ✓ |  |  |  |
|  | Shanthi 2013 |  | ✓ |  |  |
|  | Sinha 2012 |  |  | ✓ |  |
|  | Son 2013 |  |  | ✓ |  |
| Statistical Analysis |  |  |  |  |  |
| 1.14 Have confidence intervals been provided? | Behan 2006 | ✓ |  |  |  |
|  | Coban 2003 |  | ✓ |  |  |
|  | El-Agouza 2002 |  | ✓ |  |  |
|  | Ford 2011 | ✓ |  |  |  |
|  | Gram-Hansen 1990 |  | ✓ |  |  |
|  | Hardikar 2012 |  | ✓ |  |  |
|  | Kim. C 2010 | ✓ |  |  |  |
|  | Koga 2007 |  | ✓ |  |  |
|  | Koga 2010 |  | ✓ |  |  |
|  | Shanthi 2013 |  | ✓ |  |  |
|  | Sinha 2012 |  | ✓ |  |  |
|  | Son 2013 |  | ✓ |  |  |

| Section 2: Overall assessment of the study |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Study | High quality | Acceptable | Un-acceptable |
| 2.1 How well was the study done to minimise the risk of bias or confounding? | Behan 2006 |  | + |  |
|  | Coban 2003 |  | + |  |
|  | El-Agouza 2002 |  | + |  |
|  | Ford 2011 |  | + |  |
|  | Gram-Hansen 1990 |  | +/0 |  |
|  | Hardikar 2012 |  | + |  |
|  | Kim. C 2010 |  | + |  |
|  | Koga 2007 |  | + |  |
|  | Koga 2010 |  | + |  |
|  | Shanthi 2013 |  | +/0 |  |
|  | Sinha 2012 |  | + |  |
|  | Son 2013 |  | +/0 |  |
|  | Study | Yes | No | Can't Say |
| 2.2 Taking into account clinical considerations, the methodology used, and the statistical power of the study, is there clear evidence of an association? | Behan 2006 |  |  | ✓ |
|  | Coban 2003 |  |  | ✓ |
|  | El-Agouza 2002 |  |  | ✓ |
|  | Ford 2011 | ✓ |  |  |
|  | Gram-Hansen 1990 |  | ✓ |  |
|  | Hardikar 2012 | ✓ |  |  |
|  | Kim. C 2010 |  |  |  |
|  | Koga 2007 |  |  | ✓ |
|  | Koga 2010 |  |  | ✓ |
|  | Shanthi 2013 |  | ✓ |  |
|  | Sinha 2012 |  |  | ✓ |
|  | Son 2013 |  |  | ✓ |
| 2.3 Are the results of this study directly applicable to the patient group targeted in this guideline? | Behan 2006 | ✓ |  |  |
|  | Coban 2003 | ✓ |  |  |
|  | Ford 2011 | ✓ |  |  |
|  | Gram-Hansen 1990 | ✓ |  |  |
|  | Hardikar 2012 | ✓ |  |  |
|  | Kim. C 2010 | ✓ |  |  |
|  | Koga 2007 | ✓ |  |  |
|  | Koga 2010 | ✓ |  |  |
|  | Shanthi 2013 | ✓ |  |  |
|  | Sinha 2012 | ✓ |  |  |
|  | Son 2013 | ✓ |  |  |
| 2.4Notes. Summarise the authors conclusions. Add any comments on your own assessment of the study, and the extent to which it answers your question and mention any areas of uncertainty raised above. | Behan 2006 | This study suggests that menstruation can have a significant effect in the accuracy on A1c compared to at the menopause. This is a significant finding because half of the women who develop type 2 diabetes do so in perimenopause. They suggest testing absolute A1c in other groups, including those with iron deficiency, men and older women. |  |  |
|  | Coban 2003 | This study showed a decrease in HbA1c values after treatment for anaemia and the authors suggest correcting iron deficiency before making and diagnostic or therapeutic decision based on HbA1c. |  |  |
|  | El-Agouza 2002 | The authors suggest that iron deficiency anaemia may elevate HbA1c values by as much as 17% and suggest treatment of IDA to increase the reliability of HbA1c. |  |  |
|  | Ford 2011 | The authors suggest caution should be taken when diagnosing diabetes and pre-diabetes in people with a high or low Hb when the HbA1c level is close to the 6.5% or 5.7% cut off. HbA1c was shown to be higher in patients with anaemia than those without when adjusted for glucose concentration. |  |  |
|  | Gram-Hansen 1990 | The authors conclude that, in patients with iron and vitamin B12 deficiency, HbA1c is an important marker of the changes in the erythrocyte population that occur when therapy is initiated. Very limited data presented. |  |  |
|  | Hardikar 2012 | The authors suggest the use of HbA1c for the diagnosis of diabetes in an anaemic population will lead to a spuriously high prevalence of pre-diabetes and diabetes compared to glucose based testing. |  |  |
|  | Kim. C 2010 | The authors concluded that iron deficiency was common among women; this iron deficiency was not necessarily accompanied by anaemia but is associated with an upwards shift in HbA1c levels. |  |  |
|  | Koga 2007 | The authors concluded that erythrocyte indices are associated with HbA1c, independently of plasma glucose levels, in pre-menopausal women in the absence of anaemia. They recommend this be considered when interpreting HbA1c in pre-menopausal patients with diabetes. |  |  |
|  | Koga 2010 | The authors concluded that iron metabolism indices influence HbA1c levels, but not serum GA levels, in pre-menopausal women. |  |  |
|  | Shanthi 2013 | The authors conclude that HbA1c is not affected by blood sugar levels alone, and that iron deficiency has big effect on HbA1c. They suggest ruling out IDA before making therapeutic decision, based on hbA1c levels. Discussion was very limited. |  |  |
|  | Sinha 2012 | This study found decreased HbA1c levels at baseline and a rise in HbA1c with iron supplementation. |  |  |
|  | Son 2013 | The authors suggest that using HbA1c as a diagnostic tool might be limited in anaemia, especially in patients identified as pre diabetes or diabetes. |  |  |